## Hoja1
MARCA | REFERENCIA | DESCRIPCION | PV AM
HETTICH | 512 | Bottle 750 ml plastic (PP) | 158.9696 | Catálogo web
HETTICH | 528 | Tube 100 ml ASTM, pear-shaped, graduated | 226.4268 | Catálogo web
HETTICH | 531 | Tube 100 ml ASTM, conical, graduated | 219.5554 | Catálogo web
HETTICH | 534 | Tube 30 ml chromium bath, self-supporting | 508.75 | Catálogo web
HETTICH | 535 | Rubber stopper For tube 0534 | 126.3304 | Catálogo web
HETTICH | 550 | Bottle 2.000 ml, plastic (PP) | 239.3107 | Catálogo web
HETTICH | 551 | Bottle 600 ml, plastic (PP) | 134.9196 | Catálogo web
HETTICH | 554 | Bottle 650 ml, plastic (PP) | 157.7125 | Catálogo web
HETTICH | 555 | Bottle 200 ml, plastic (PPCO-FB) | 158.9696 | Catálogo web
HETTICH | 700 | Insert For tubes 6 ml, cylindrical | 73.1627 | Catálogo web
HETTICH | 701 | Spacer Boring Ø x L (mm): 14.8 x 4.8 | 72.7332 | Catálogo web
HETTICH | 702 | Insert For tubes 15 ml, conical (Falcon type) | 80.8071 | Catálogo web
HETTICH | 0703-A | Adapter, 1-place For Babcock vessels, for bucket 4275 | 161.1482 | Catálogo web
HETTICH | 715 | Spacer Boring Ø x L (mm): 18.2 x 4.8, for adapter 1482A | 74.0216 | Catálogo web
HETTICH | 716 | Spacer Boring Ø x L (mm): 17 x 11.5 | 73.4204 | Catálogo web
HETTICH | 726 | Spacer Boring Ø x L (mm): 25 x 15 | 79.2611 | Catálogo web
HETTICH | 751 | Insert For tubes 50 ml | 90.2554 | Catálogo web
HETTICH | 761 | Spacer Boring Ø x L (mm): 41 x 15 | 114.3054 | Catálogo web
HETTICH | 765 | Spacer Boring Ø x L (mm): 45.5 x 7 | 161.1482 | Catálogo web
HETTICH | 766 | Insert For tubes 250 ml | 114.3054 | Catálogo web
HETTICH | 0767-6 | Spacer (Set) Boring Ø x L (mm): 16.5 x 15, Set of 6 pcs. | 124.6125 | Catálogo web
HETTICH | 768 | Spacer (Set) Boring Ø x L (mm): 14 x 21.5, Set of 10 pcs. | 187.775 | Catálogo web
HETTICH | 0769-A | Insert For ASTM tubes 100 ml, conical | 111.7286 | Catálogo web
HETTICH | 771 | Adapter, 1-place For 100 ml ASTM tube (58 x 161 mm), for bucket 4275 | 194.6464 | Catálogo web
HETTICH | 772 | Insert For ASTM tubes 100 ml, conical | 194.6464 | Catálogo web
HETTICH | 773 | Rubber sheet 4mm | 84.0711 | Catálogo web
HETTICH | 778 | Spacer Width x Length (mm): 73 x 54 | 82.8686 | Catálogo web
HETTICH | 783 | Rubber sheet 20 mm | 76.3407 | Catálogo web
HETTICH | 786 | Spacer Width x Length (mm): 109 x 91 | 83.3839 | Catálogo web
HETTICH | 788 | Spacer (Set) Boring Ø x L (mm): 10.5 x 7, Set of 15 pcs. | 228.7393 | Catálogo web
HETTICH | 789 | Rubber sheet 3 mm | 77.0279 | Catálogo web
HETTICH | 790 | Rubber sheet 3 mm | 83.3839 | Catálogo web
HETTICH | 955 | HettInfo II Documentation system, without scan module, for ROTO SILENTA 630 RS | 8905.3714 | Catálogo web
HETTICH | 956 | HettInfo II Documentation system, without scan module, for ROTIXA 500 RS | 8905.3714 | Catálogo web
HETTICH | 959 | HettInfo II Scan Module With barcode scanner, mounting bracket and cable clamps, for HettInfo II, for ROTO SILENTA 630 RS | 3818.7964 | Catálogo web
HETTICH | 960 | HettInfo II Scan Module With barcode scanner, mounting bracket and cable clamps, for HettInfo II, for ROTIXA 500 RS | 3818.7964 | Catálogo web
HETTICH | 1008-00 | ROTOLAVIT II (IVD) Wash Centrifuge, non-refrigerated, without rotor, 100-240 V 1~, 50-60 Hz | 21641.5643 | Catálogo web
HETTICH | 1011 | MANUAL CENTRIFUGE Small Centrifuge, without rotor | 312.9143 | Catálogo web
HETTICH | 1014 | Swing-out rotor, 4-place 90°, with buckets, for MANUAL CENTRIFUGE | 187.775 | Catálogo web
HETTICH | 1015 | Angle rotor, 12-place 35°, for MIKRO 220 ¦ 220 R | 787.0429 | Catálogo web
HETTICH | 1016 | Angle rotor, 6-place 45°, for MIKRO 220 ¦ 220 R | 1170.125 | Catálogo web
HETTICH | 1017-A | Swing-out rotor, 12-place 45°, with buckets, for ROTOLAVIT II | 1425.8214 | Catálogo web
HETTICH | 1018-A | Swing-out rotor, 24-place 45°, with buckets, for ROTOLAVIT II | 2200.575 | Catálogo web
HETTICH | 1019 | Adapter (Set), 1-place For glass tubes, for rotor 1017-A, Set of 12 pcs. | 147.8036 | Catálogo web
HETTICH | 1025 | Swing-out rotor, 4-place 50°, with buckets, for MANUAL CENTRIFUGE | 292.3 | Catálogo web
HETTICH | 1053-6 | Adapter (Set), 1-place Boring Ø x L (mm): 13.5 x 59, for bucket 1147-6, Set of 6 pcs. | 156.8536 | Catálogo web
HETTICH | 1054-A | Adapter, 1-place Boring Ø x L (mm): 13.5 x 60, for rotor in EBA 200 ¦ 200 S, for adapter 1635 | 104.8571 | Catálogo web
HETTICH | 1058 | Adapter, 1-place Boring Ø x L (mm): 13.5 x 79, for rotor in EBA 200 ¦ 200 S and for rotor 1139, 1015, 1624, 1613, 1615 | 126.3304 | Catálogo web
HETTICH | 1059 | Adapter, 1-place For BD-Vacutainer | 101.4214 | Catálogo web
HETTICH | 1063-6 | Adapter (Set), 1-place Boring Ø x L (mm): 11 x 35, for rotor in EBA 270 and for rotor 1146, 1139, 1613, 1615, Set of 6 pcs. | 172.3143 | Catálogo web
HETTICH | 1063-8 | Adapter (Set), 1-place Boring Ø x L (mm): 11 x 35, for rotor in EBA 200 ¦ 200 S, Set of 8 pcs. | 208.3893 | Catálogo web
HETTICH | 1064 | Adapter, 1-place Boring Ø x L (mm): 17 x 25, for rotor in EBA 200 ¦ 200 S and for rotors 1139, 1015, 1613, 1615 | 104.8571 | Catálogo web
HETTICH | 1101 | EBA 280 (IVD) Small Centrifuge, non-refrigerated, without rotor, 200-240 V1~, 50-60 Hz | 4325.5643 | Catálogo web
HETTICH | 1101-01 | EBA 280 (IVD) Small Centrifuge, non-refrigerated, without rotor, 100-127 V1~, 50-60 Hz | 4325.5643 | Catálogo web
HETTICH | 1102 | EBA 280 S (IVD) Small Centrifuge, non-refrigerated, without rotor, 200-240 V1~, 50-60 Hz | 6287.3571 | Catálogo web
HETTICH | 1102-01 | EBA 280 S (IVD) Small Centrifuge, non-refrigerated, without rotor, 100-127 V1~, 50-60 Hz | 6287.3571 | Catálogo web
HETTICH | 1122 | Bucket For rotor 1628 | 126.3304 | Catálogo web
HETTICH | 1127-A | Bucket For rotor 1628, 1142 | 126.3304 | Catálogo web
HETTICH | 1131-A | Bucket For rotor 1611, 1148 | 101.4214 | Catálogo web
HETTICH | 1132-A | Bucket For rotor 1611, 1148 | 103.1393 | Catálogo web
HETTICH | 1133 | Angle rotor, 12-place 35°, with decanting aid, for EBA 280 ¦ 280 S | 1568.4036 | Catálogo web
HETTICH | 1137 | Angle rotor, 6-place 35°, for EBA 280 ¦ 280 S | 1130.6143 | Catálogo web
HETTICH | 1139 | Angle rotor, 12-place 35°, for EBA 280 ¦ 280 S | 1128.8964 | Catálogo web
HETTICH | 1142 | Swing-out rotor, 12-place 60°, without buckets, for EBA 280 ¦ 280 S | 768.1464 | Catálogo web
HETTICH | 1146 | Swing-out rotor, 6-place 90°, without buckets, for EBA 280 ¦ 280 S | 871.2179 | Catálogo web
HETTICH | 1147-6 | Bucket (Set) Set consisting of 6 pieces, for rotor 1146 | 397.0893 | Catálogo web
HETTICH | 1148 | Swing-out rotor, 8-place 90°, without buckets, for EBA 280 ¦ 280 S | 1001.775 | Catálogo web
HETTICH | 1154-L | Swing-out rotor, 24-place 90°, with lid, bioseal, for MIKRO 220 ¦ 220 R | 2090.6321 | Catálogo web
HETTICH | 1158-L | Angle rotor, 48-place 45°, with lid, bioseal, for MIKRO 220 ¦ 220 R | 1583.8643 | Catálogo web
HETTICH | 1161 | Drum rotor, 6-place 90°, with lid, without adapter, for MIKRO 220 ¦ 220 R | 1733.3179 | Catálogo web
HETTICH | 1189-A | Angle rotor, 30-place 45°, with lid, bioseal, for MIKRO 220 ¦ 220 R | 1135.7679 | Catálogo web
HETTICH | 1195-A | Angle rotor, 24-place 45°, with lid, bioseal, phenol-resistant for MIKRO 220 ¦ 220 R | 914.1643 | Catálogo web
HETTICH | 1203 | MIKRO 185 (IVD) Microliter Centrifuge, non-refrigerated, without rotor, 200-240 V1~, 50-60 Hz | 2423.8964 | Catálogo web
HETTICH | 1203-01 | MIKRO 185 (IVD) Microliter Centrifuge, non-refrigerated, without rotor, 100-127 V1~, 50-60 Hz | 2435.9214 | Catálogo web
HETTICH | 1206 | ROTOFIX 32 A (IVD) Benchtop Centrifuge, non-refrigerated, without rotor, 208-240 V1~, 50-60 Hz | 3686.5214 | Catálogo web
HETTICH | 1206-01 | ROTOFIX 32 A (IVD) Benchtop Centrifuge, non-refrigerated, without rotor, 100-127 V1~, 50-60 Hz | 3767.2607 | Catálogo web
HETTICH | 1207 | ROTOFIX 32 A (MD) Benchtop Centrifuge, non-refrigerated, without rotor, 208-240 V1~, 50-60 Hz | 3612.6536 | Catálogo web
HETTICH | 1207-01 | ROTOFIX 32 A (MD) Benchtop Centrifuge, non-refrigerated, without rotor, 100-127 V1~, 50-60 Hz | 3693.3929 | Catálogo web
HETTICH | 1213-A | Angle rotor, 18-place For Spin Coumn Kits, 45°, with lid, bioseal, phenol-resistant, for MIKRO 185 | 951.9571 | Catálogo web
HETTICH | 1226-A | Angle rotor, 24-place 45°, with lid, bioseal, for MIKRO 185 | 708.0214 | Catálogo web
HETTICH | 1246 | Lid Plastic, bioseal, for rotor 1213-A (for replacement only) | 421.1393 | Catálogo web
HETTICH | 1252-A | Angle rotor, 12-place 45°, with lid, for MIKRO 185 | 560.2857 | Catálogo web
HETTICH | 1258-A | Angle rotor, 18-place 45°, with lid, for MIKRO 185 | 627.2821 | Catálogo web
HETTICH | 1324 | Swing-out rotor, 4-place 90°, without buckets, for ROTOFIX 32 A, UNIVERSAL 320 ¦ 320 R | 1262.8893 | Catálogo web
HETTICH | 1326 | Adapter, 12-place Boring Ø x L (mm): 12.5 x 44, for bucket 1366 | 183.4804 | Catálogo web
HETTICH | 1327 | Adapter, 12-place Boring Ø x L (mm): 10.5 x 23, for bucket 1366, 1427 | 240.7643 | Catálogo web
HETTICH | 1329 | Adapter, 4-place Boring Ø x L (mm): 17.6 x 91, for bucket 1481, 1490, 1495 | 172.3143 | Catálogo web
HETTICH | 1330 | Adapter, 1-place Boring Ø x L (mm): 25.2 x 87, for bucket 1481, 1490, 1495 | 155.1357 | Catálogo web
HETTICH | 1331 | Adapter, 1-place Boring Ø x L (mm): 35.2 x 87, for bucket 1490, 1481, 1495 | 155.1357 | Catálogo web
HETTICH | 1339 | Adapter, 27-place Boring Ø x L (mm): 6.5 x 34, for bucket 1490, 1481, 1495 | 160.2893 | Catálogo web
HETTICH | 1343 | Adapter, 9-place Boring Ø x L (mm): 10.5 x 43, for bucket 1490, 1481, 1495 | 155.1357 | Catálogo web
HETTICH | 1345 | Carrier, 1-place Boring Ø x L (mm): 32 x 74, plastic, for rotor 1624 | 181.7625 | Catálogo web
HETTICH | 1346 | Carrier, 2-place Boring Ø x L (mm): 21.5 x 74, plastic, for rotor 1624 | 181.7625 | Catálogo web
HETTICH | 1347 | Adapter, 1-place Boring Ø x L (mm): 17 x 90, for bucket 1490, 1481, 1495 | 155.1357 | Catálogo web
HETTICH | 1348 | Adapter, 4-place Boring Ø x L (mm): 16.5 x 56, for bucket 1490, 1481, 1495 | 160.2893 | Catálogo web
HETTICH | 1351 | Adapter, 5-place Boring Ø x L (mm): 11.2 x 38, for bucket 1490, 1481, 1495 | 155.1357 | Catálogo web
HETTICH | 1356 | Adapter, 3-place Boring Ø x L (mm): 17 x 107, for bucket 1490 | 168.8786 | Catálogo web
HETTICH | 1357 | Adapter, 30-place Boring Ø x L (mm): 6.5 x 23, for bucket 1366, 1427 | 217.8375 | Catálogo web
HETTICH | 1363 | Adapter, 1-place Boring Ø x L (mm): 26 x 72, for bucket 1481, 1490, 1495 | 155.1357 | Catálogo web
HETTICH | 1365 | Adapter, 1-place Boring Ø x L (mm): 26 x 80, for bucket 1481, 1490, 1495 | 155.1357 | Catálogo web
HETTICH | 1366 | Bucket Light metal, for rotor 1624, 1726 | 206.6714 | Catálogo web
HETTICH | 1369 | Carrier, 4-place Boring Ø x L (mm): 17.6 x 74, plastic, for rotor 1624 | 143.5089 | Catálogo web
HETTICH | 1369-91 | Carrier, 4-place Boring Ø x L (mm): 12.5 x 64,4, plastic, with decanting aid, for rotor 1624 | 155.9946 | Catálogo web
HETTICH | 1369-92 | Carrier, 4-place Boring Ø x L (mm): 12.5 x 71,5, plastic, with decanting aid, for rotor 1624 | 155.9946 | Catálogo web
HETTICH | 1370 | Carrier, 5-place Boring Ø x L (mm): 14.6 x 74, plastic, for rotor 1624 | 143.5089 | Catálogo web
HETTICH | 1372 | Carrier, 17-place Boring Ø x L (mm): 13.5 x 65, plastic, for rotor 1624 | 160.2893 | Catálogo web
HETTICH | 1377 | Adapter, 10-place Boring Ø x L (mm): 10.8 x 37, for rotor 1161 | 164.9821 | Catálogo web
HETTICH | 1378 | Adapter, 32-place Boring Ø x L (mm): 6 x 40, for rotor 1161 | 288.8643 | Catálogo web
HETTICH | 1379 | Adapter, 21-place Boring Ø x L (mm): 8.4 x 43, for rotor 1161 | 218.4321 | Catálogo web
HETTICH | 1383 | Adapter, 5-place Boring Ø x L (mm): 13.4 x 48, for bucket 1481, 1490, 1495 | 174.0321 | Catálogo web
HETTICH | 1384 | Adapter, 1-place Boring Ø x L (mm): 30 x 90, for bucket 1481, 1490, 1495 | 155.1357 | Catálogo web
HETTICH | 1396 | Adapter, 1-place Boring Ø x L (mm): 38.5 x 92, for bucket 1481, 1490, 1495 | 150.8411 | Catálogo web
HETTICH | 1398 | Bucket Light metal, for rotor 1324 | 261.3786 | Catálogo web
HETTICH | 1401 | UNIVERSAL 320 (IVD) Benchtop Centrifuge, non-refrigerated, without rotor, 200-240 V1~, 50-60 Hz | 5990.1679 | Catálogo web
HETTICH | 1401-01 | UNIVERSAL 320 (IVD) Benchtop Centrifuge, non-refrigerated, without rotor, 100-127 V1~, 50-60 Hz | 6289.075 | Catálogo web
HETTICH | 1403 | Adapter 4-place Boring Ø x L (mm): 12,7 x 30, for rotor 1720, 1792 | 168.8786 | Catálogo web
HETTICH | 1406 | UNIVERSAL 320 R (IVD) Benchtop Centrifuge, refrigerated, without rotor, 200-240 V1~, 50 Hz, 240 V1~, 60 Hz | 11623.0214 | Catálogo web
HETTICH | 1406-01 | UNIVERSAL 320 R (IVD) Benchtop Centrifuge, refrigerated, without rotor, 115-127 V1~, 60 Hz | 12210.5286 | Catálogo web
HETTICH | 1418 | Angle rotor, 8-place 45° for ROTOFIX 32 A, UNIVERSAL 320 ¦ 320 R | 735.5071 | Catálogo web
HETTICH | 1421 | Lid Plastic, for bucket 1427 | 165.4429 | Catálogo web
HETTICH | 1425 | Bucket Light metal, for rotor 1494 | 319.7857 | Catálogo web
HETTICH | 1427 | Bucket Light metal, for rotor 1494 | 390.2179 | Catálogo web
HETTICH | 1431 | Adapter, 7-place Boring Ø x L (mm): 17.5 x 84, for bucket 1425 | 163.725 | Catálogo web
HETTICH | 1432 | Adapter, 36-place Boring Ø x L (mm): 6.5 x 34, for bucket 1425 | 218.4321 | Catálogo web
HETTICH | 1433 | Adapter, 14-place Boring Ø x L (mm): 10.5 x 40, for bucket 1425 | 273.4036 | Catálogo web
HETTICH | 1434 | Adapter, 12-place Boring Ø x L (mm): 12.7 x 60, for bucket 1425 | 254.5071 | Catálogo web
HETTICH | 1435 | Adapter, 2-place Boring Ø x L (mm): 25.5 x 84, for bucket 1425 | 218.4321 | Catálogo web
HETTICH | 1436 | Adapter, 1-place Boring Ø x L (mm): 35.5 x 84, for bucket 1425 | 201.5179 | Catálogo web
HETTICH | 1437 | Adapter, 1-place Boring Ø x L (mm): 45.5 x 86, for bucket 1425 | 161.1482 | Catálogo web
HETTICH | 1438 | Adapter, 7-place Boring Ø x L (mm): 13.4 x 50, for bucket 1425 | 205.8125 | Catálogo web
HETTICH | 1439 | Adapter, 4-place Boring Ø x L (mm): 17 x 45, for bucket 1425 | 205.8125 | Catálogo web
HETTICH | 1441 | Adapter, 7-place Boring Ø x L (mm): 16.5 x 50, for bucket 1425 | 208.3893 | Catálogo web
HETTICH | 1442 | Adapter, 1-place Boring Ø x L (mm): 17 x 90, for bucket 1425 | 192.9286 | Catálogo web
HETTICH | 1443 | Adapter, 1-place Boring Ø x L (mm): 30 x 90, for bucket 1425 | 154.2768 | Catálogo web
HETTICH | 1444 | Adapter, 9-place Boring Ø x L (mm): 11.5 x 38, for bucket 1425 | 185.1982 | Catálogo web
HETTICH | 1446 | Adapter, 1-place Boring Ø x L (mm): 29 x 92, for rotor 1620A, 1556, 1720, 1792, 4794, 5615, 4246 | 136.6375 | Catálogo web
HETTICH | 1447 | Adapter, 1-place Boring Ø x L (mm): 26 x 85, for rotor 1620A, 1556, 1720, 1792, 4794, 5615, 4246 | 136.6375 | Catálogo web
HETTICH | 1448 | Adapter, 2-place Boring Ø x L (mm): 16.5 x 74, for rotor 1720, 1792, 4794, 5615, 4246, 1620A | 139.2143 | Catálogo web
HETTICH | 1449 | Adapter, 4-place Boring Ø x L (mm): 11.4 x 39, for rotor 1620A, 1556, 1720, 1792, 4794, 5615, 4246 | 141.7911 | Catálogo web
HETTICH | 1451 | Adapter, 1-place Boring Ø x L (mm): 17.5 x 92, for rotor 4246, 1620A, 1720, 1792, 4794, 5615 | 160.2893 | Catálogo web
HETTICH | 1452 | Bucket Light metal, for rotor 1494 (Minimum order quantity 4 pc.) | 348.9893 | Catálogo web
HETTICH | 1453-A | Bucket Light metal, for rotor 1460 (Minimum order quantity 2 pc.) | 556.85 | Catálogo web
HETTICH | 1454 | Adapter, 1-place Boring Ø x L (mm): 29.8 x 97, for rotor 4246, 1620A, 1556, 1720, 1792, 4794, 5615 | 139.2143 | Catálogo web
HETTICH | 1457 | Adapter, 7-place Boring Ø x L (mm): 9 x 47, for bucket 1495, 1481, 1490 | 155.1357 | Catálogo web
HETTICH | 1459 | Adapter, 4-place Boring Ø x L (mm): 15.6 x 47, for bucket 1495, 1481, 1490 | 155.1357 | Catálogo web
HETTICH | 1460 | Swing-out rotor, 2-place 90°, without buckets, for UNIVERSAL 320 ¦ 320 R | 1276.6321 | Catálogo web
HETTICH | 1462-A | Adapter, 1-place Boring Ø x L (mm): 17 x 84, for rotor 1619, 1617 | 116.8821 | Catálogo web
HETTICH | 1463 | Adapter, 1-place Boring Ø x L (mm): 35 x 89, for rotor 4246, 1620A, 1556, 1720, 1792, 4794, 5615 | 136.6375 | Catálogo web
HETTICH | 1466 | Adapter, 1-place Boring Ø x L (mm): 17 x 106, for rotor 4246, 1620A, 1556, 1720, 1792, 4794, 5615 | 136.6375 | Catálogo web
HETTICH | 1467 | Carrier, 4-place Boring Ø x L (mm): 17.4 x 91, plastic, for rotor 1418 | 127.1893 | Catálogo web
HETTICH | 1468 | Carrier, 1-place Boring Ø x L (mm): 30.2 x 92, plastic, for rotor 1418 | 127.1893 | Catálogo web
HETTICH | 1476 | Adapter, 1-place Boring Ø x L (mm): 17 x 51, for rotor 5615, 4246, 1620A, 1720, 1792, 4794 | 139.2143 | Catálogo web
HETTICH | 1477 | Adapter, 2-place Boring Ø x L (mm): 16.5 x 72, for rotor 1556 | 151.2393 | Catálogo web
HETTICH | 1478 | Adapter, 1-place Boring Ø x L (mm): 13.5 x 60, for rotor 1556 | 151.2393 | Catálogo web
HETTICH | 1481 | Bucket Light metal, for rotor 1624 | 261.3786 | Catálogo web
HETTICH | 1482A | Adapter, 4-place Boring Ø x L (mm): 17.5 x 81, for bucket 1398 | 208.3893 | Catálogo web
HETTICH | 1483A | Adapter, 4-place Boring Ø x L (mm): 17 x 100, for bucket 1398, 1559 | 206.6714 | Catálogo web
HETTICH | 1484 | Adapter, 1-place Boring Ø x L (mm): 30 x 98, for bucket 1398, 1559 | 224.7089 | Catálogo web
HETTICH | 1485 | Adapter, 96-place For PCR plates and strips, for bucket 5630-B, 5628, 5653, 5631, 4280, 4299-N, 4285-A, 1453-A, 1753-A, 4745, 4782 | 229.0036 | Catálogo web
HETTICH | 1486 | Adapter, 5-place Boring Ø x L (mm): 13.4 x 57.5, for bucket 1398, 1559 | 154.675 | Catálogo web
HETTICH | 1487 | Adapter, 3-place Boring Ø x L (mm): 17.5 x 74, for bucket 1398, 1559 | 191.2107 | Catálogo web
HETTICH | 1488 | Adapter, 4-place For 8 ml Vacutainer for rotor 1556 | 227.2857 | Catálogo web
HETTICH | 1490 | Bucket Light metal, for rotor 1324 | 261.3786 | Catálogo web
HETTICH | 1492 | Lid Plastic, bioseal, for bucket 1495, 1481, 1490 | 136.6375 | Catálogo web
HETTICH | 1494 | Swing-out rotor, 4-place 90°, without buckets, for UNIVERSAL 320 ¦ 320 R | 1037.85 | Catálogo web
HETTICH | 1495 | Bucket Light metal, for rotor 1494 | 348.9893 | Catálogo web
HETTICH | 1515-A | Swing-out rotor, 12-place For cytology, 90°, without clips, with lid, bioseal, for ROTOFIX 32 A, UNIVERSAL 320 ¦ 320 R | 2691.8821 | Catálogo web
HETTICH | 1523 | Adapter For rotor 1515-A | 1362.2607 | Catálogo web
HETTICH | 1524 | Clip (Set), 1-place Autoclavable, Set of 4 pcs. | 835.1429 | Catálogo web
HETTICH | 1528 | Stand For rotor 1520 | 489.8536 | Catálogo web
HETTICH | 1531 | Cyto chamber (Set), 0.5 ml disposable, Ǿ (mm): 6 mm, with filter card (white), Set of 50 pcs., for Rotor 1515-A | 213.2786 | Catálogo web
HETTICH | 1532 | Cyto chamber (Set), 0.2 ml disposable, Ǿ (mm): 6 mm, with filter card (brown), Set of 50 pcs., for Rotor 1515-A | 213.2786 | Catálogo web
HETTICH | 1534 | Cyto chamber (Set), 0.5 ml disposable, Ǿ (mm): 6 mm, with filter card (white), Set of 500 pcs., for Rotor 1515-A | 1576.9929 | Catálogo web
HETTICH | 1540 | Angle rotor, 8-place 45°, with lid, bioseal, phenol-resistant, for MIKRO 2.0 ¦ 2.0 R | 1599.325 | Catálogo web
HETTICH | 1551 | Angle rotor, 8-place 45°, with lid, bioseal, phenol-resistant, for UNIVERSAL 320 ¦ 320 R | 1400.0536 | Catálogo web
HETTICH | 1552 | Angle rotor, 24-place 50°, with lid, bioseal, phenol-resistant, for UNIVERSAL 320 ¦ 320 R | 1370.85 | Catálogo web
HETTICH | 1553 | Angle rotor, 30-place 45°, with lid, bioseal, phenol-resistant, for UNIVERSAL 320 ¦ 320 R | 1370.85 | Catálogo web
HETTICH | 1554 | Swing-out rotor, 4-place 90°, without buckets, for UNIVERSAL 320 ¦ 320 R | 1439.5643 | Catálogo web
HETTICH | 1555 | Swing-out rotor, 24-place 90°, with lid, bioseal, phenol-resistant, for UNIVERSAL 320 ¦ 320 R | 2092.35 | Catálogo web
HETTICH | 1556 | Angle rotor, 6-place 35°, with lid, bioseal, phenol-resistant, for UNIVERSAL 320 ¦ 320 R | 2049.4036 | Catálogo web
HETTICH | 1559 | Bucket Light metal, for rotor 1554 | 446.9071 | Catálogo web
HETTICH | 1560 | Bucket Light metal, for rotor 1554 | 472.675 | Catálogo web
HETTICH | 1561 | Lid Plastic, bioseal, for bucket 1560 | 140.9321 | Catálogo web
HETTICH | 1563 | Bucket For rotor 1554 | 527.6464 | Catálogo web
HETTICH | 1565 | Bucket Light metal, for rotor 1554 | 379.9107 | Catálogo web
HETTICH | 1571 | Adapter, 14-place Boring Ø x L (mm): 11.5 x 39, for bucket 1565, 1560 | 161.1482 | Catálogo web
HETTICH | 1572 | Adapter, 4-place Boring Ø x L (mm): 18.5 x 74, for bucket 1565, 1560 | 161.1482 | Catálogo web
HETTICH | 1573 | Adapter, 1-place Boring Ø x L (mm): 25.2 x 66, for bucket 1565, 1560 | 161.1482 | Catálogo web
HETTICH | 1574 | Adapter, 1-place Boring Ø x L (mm): 35.2 x 69, for bucket 1565, 1560 | 161.1482 | Catálogo web
HETTICH | 1575 | Adapter, 1-place Boring Ø x L (mm): 38.5 x 74, for bucket 1565, 1560 | 161.1482 | Catálogo web
HETTICH | 1576 | Adapter, 1-place Boring Ø x L (mm): 45.5 x 69, for bucket 1565, 1560 | 161.1482 | Catálogo web
HETTICH | 1577 | Adapter, 2-place Boring Ø x L (mm): 17 x 77, for bucket 1565, 1560 | 161.1482 | Catálogo web
HETTICH | 1578 | Adapter, 1-place Boring Ø x L (mm): 27 x 77, for bucket 1565, 1560 | 161.1482 | Catálogo web
HETTICH | 1579 | Adapter, 1-place Boring Ø x L (mm): 30 x 77, for bucket 1565, 1560 | 161.1482 | Catálogo web
HETTICH | 1581 | Adapter, 4-place Boring Ø x L (mm): 17.5 x 74, for bucket 1565, 1560 | 161.1482 | Catálogo web
HETTICH | 1582 | Adapter, 1-place Boring Ø x L (mm): 26 x 65, for bucket 1565, 1560 | 161.1482 | Catálogo web
HETTICH | 1583 | Adapter, 1-place Boring Ø x L (mm): 30 x 77, for bucket 1565, 1560 | 161.1482 | Catálogo web
HETTICH | 1584 | Adapter, 5-place Boring Ø x L (mm): 16.5 x 60, for bucket 1565, 1560 | 161.1482 | Catálogo web
HETTICH | 1585 | Adapter, 1-place Boring Ø x L (mm): 26 x 74, for bucket 1565, 1560 | 161.1482 | Catálogo web
HETTICH | 1586 | Adapter, 1-place Boring Ø x L (mm): 29 x 74, for bucket 1565, 1560 | 161.1482 | Catálogo web
HETTICH | 1587 | Adapter, 1-place Boring Ø x L (mm): 45 x 71, for bucket 1565, 1560 | 161.1482 | Catálogo web
HETTICH | 1588 | Adapter, 5-place Boring Ø x L (mm): 17.5 x 60, for bucket 1565, 1560 | 161.1482 | Catálogo web
HETTICH | 1589 | Adapter, 7-place Boring Ø x L (mm): 13.5 x 60, for bucket 1565, 1560 | 161.1482 | Catálogo web
HETTICH | 1591 | Adapter, 3-place Boring Ø x L (mm): 17.5 x 74, for bucket 1565, 1560 | 161.1482 | Catálogo web
HETTICH | 1592 | Adapter, 1-place Boring Ø x L (mm): 17 x 87, for bucket 1563 | 161.1482 | Catálogo web
HETTICH | 1593 | Adapter, 4-place Boring Ø x L (mm): 17 x 52, for bucket 1560, 1565 | 153.4179 | Catálogo web
HETTICH | 1594 | Adapter, 1-place Boring Ø x L (mm): 52 x 77, for bucket 1560, 1565 | 155.1357 | Catálogo web
HETTICH | 1595 | Adapter, 3-place Boring Ø x L (mm): 17 x 77, for bucket 1560, 1565 | 161.1482 | Catálogo web
HETTICH | 1611 | Swing-out rotor, 8-place 90°, without buckets, for ROTOFIX 32 A, UNIVERSAL 320 ¦ 320 R | 591.2071 | Catálogo web
HETTICH | 1613 | Angle rotor, 12-place 35°, for ROTOFIX 32 A, UNIVERSAL 320 ¦ 320 R | 649.6143 | Catálogo web
HETTICH | 1615 | Angle rotor, 12-place 35°, for UNIVERSAL 320 ¦ 320 R | 1463.6143 | Catálogo web
HETTICH | 1617 | Swing-out rotor, 8-place 45°, with buckets, for ROTOFIX 32 A, UNIVERSAL 320 ¦ 320 R | 1240.5571 | Catálogo web
HETTICH | 1619 | Swing-out rotor, 6-place 90°, with buckets, for ROTOFIX 32 A, UNIVERSAL 320 ¦ 320 R | 1316.1429 | Catálogo web
HETTICH | 1620A | Angle rotor, 6-place 35°, for ROTOFIX 32 A | 1292.0929 | Catálogo web
HETTICH | 1621 | Bucket For rotor 1628 | 126.3304 | Catálogo web
HETTICH | 1624 | Swing-out rotor, 4-place 90°, without buckets, for ROTOFIX 32 A, UNIVERSAL 320 ¦ 320 R | 714.8929 | Catálogo web
HETTICH | 1626 | Swing-out rotor, 6-place For cytology, 90°, without buckets, for ROTOFIX 32 A, UNIVERSAL 320 ¦ 320 R | 1680.0643 | Catálogo web
HETTICH | 1627 | Angle rotor, 18-place 45°, with lid, bioseal, phenol-resistant, for UNIVERSAL 320 ¦ 320 R | 1592.4536 | Catálogo web
HETTICH | 1628 | Swing-out rotor, 12-place 55°, 60°, 80°, without buckets, for ROTOFIX 32 A, UNIVERSAL 320 ¦ 320 R | 443.4714 | Catálogo web
HETTICH | 1631 | Adapter, 1-place Boring Ø x L (mm): 17 x 98, for rotor 1137, 1016 | 140.9321 | Catálogo web
HETTICH | 1632 | Adapter, 3-place Boring Ø x L (mm): 13 x 92, for rotor 1137, 1016 | 140.9321 | Catálogo web
HETTICH | 1633 | Adapter, 1-place Boring Ø x L (mm): 26 x 88, for rotor 1137, 1016 | 140.9321 | Catálogo web
HETTICH | 1634 | Adapter, 1-place Boring Ø x L (mm): 29 x 95, for rotor 1137, 1016 | 140.9321 | Catálogo web
HETTICH | 1635 | Adapter, 1-place Boring Ø x L (mm): 17.5 x 95, for rotor 1137, 1016 | 140.9321 | Catálogo web
HETTICH | 1641 | Adapter, 1-place Boring Ø x L (mm): 30 x 98, for rotor 1137, 1016 | 140.9321 | Catálogo web
HETTICH | 1643 | Bucket For rotor 1611 | 106.575 | Catálogo web
HETTICH | 1644 | Bucket For rotor 1611 | 99.7036 | Catálogo web
HETTICH | 1646 | Adapter (Set), 1-place For rotor 1620A, Set of 6 pcs. | 464.0857 | Catálogo web
HETTICH | 1647 | Adapter (Set), 1-place Boring Ø x L (mm): 17 x 104, for rotor 1615, Set of 6 pcs. | 402.2429 | Catálogo web
HETTICH | 1649 | Adapter, 1-place Boring Ø x L (mm): 17 x 51, for rotor 1016 | 140.9321 | Catálogo web
HETTICH | 1660 | Bucket For rotor 1624, 1626, 1726 | 343.8357 | Catálogo web
HETTICH | 1661 | Lid Plastic, for bucket 1660 | 202.3768 | Catálogo web
HETTICH | 1662 | Slide carrier, 1-place Single, with ring, autoclavabel, for bucket 1660, adapter 5280 | 280.275 | Catálogo web
HETTICH | 1663-100 | Cyto chamber (Set), 1 ml disposable, Ǿ (mm): 6.2, Set of 100 pcs., for Bucket 1660, 1452 and Adapter 5280 | 713.175 | Catálogo web
HETTICH | 1664-100 | Cyto chamber (Set), 2 ml disposable, Ǿ (mm): 8.7, Set of 100 pcs., for Bucket 1660, 1452 and Adapter 5280 | 713.175 | Catálogo web
HETTICH | 1665-100 | Cyto chamber (Set), 4 ml disposable, Ǿ (mm): 12.4, Set of 100 pcs., for Bucket 1660, 1452 and Adapter 5280 | 713.175 | Catálogo web
HETTICH | 1666-100 | Cyto chamber (Set), 8 ml disposable, Ǿ (mm): 17.5, Set of 100 pcs., for Bucket 1660, 1452 and Adapter 5280 | 713.175 | Catálogo web
HETTICH | 1667-100 | Cyto chamber (Set), 3 x 2 ml disposable, Ǿ (mm): 3 x 8.7, Set of 100 pcs., for Bucket 1660, 1452 and Adapter 5280 | 1295.5286 | Catálogo web
HETTICH | 1668-100 | Cyto chamber (Set), 4 x 1 ml Disposable, Ǿ (mm): 4 x 6.2, Set of 100 pcs., for Bucket 1660, 1452 and Adapter 5280 | 1637.1179 | Catálogo web
HETTICH | 1670 | Slide carrier, 2-place Double, with ring, autoclavabel, for bucket 1660, adapter 5280 | 397.0893 | Catálogo web
HETTICH | 1671-100 | Cyto chamber (Set), 30 mm² Disposable, Ǿ (mm): 6.2, Set of 100 pcs., for Bucket 1680 | 1037.85 | Catálogo web
HETTICH | 1672-100 | Cyto chamber (Set), 60 mm² Disposable, Ǿ (mm): 8.7, Set of 100 pcs., for Bucket 1680 | 1037.85 | Catálogo web
HETTICH | 1673-100 | Cyto chamber (Set), 120 mm² Disposable, Ǿ (mm): 12.4, Set of 100 pcs., for Bucket 1680 | 1037.85 | Catálogo web
HETTICH | 1675 | Filter card (Set) Single, Set of 200 pcs., for Slide carrier 1662, for cyto chamber 1663, 1664, 1665 | 146.9446 | Catálogo web
HETTICH | 1676 | Filter card (Set) Single, Set of 100 pcs., for Slide carrier 1662, for cyto chamber 1666 | 125.4714 | Catálogo web
HETTICH | 1677 | Filter card (Set) Single, Set of 100 pcs., for Slide carrier 1662, for cyto chamber 1667 | 124.6125 | Catálogo web
HETTICH | 1678 | Filter card (Set) Single, Set of 100 pcs., for Slide carrier 1662, for cyto chamber 1668 | 139.2143 | Catálogo web
HETTICH | 1680 | Bucket For rotor 1624, 1626 | 369.6036 | Catálogo web
HETTICH | 1691 | Filter card (Set) Multiple, Set of 100 pcs., for Slide carrier 1670, for cyto chamber 1666 | 127.1893 | Catálogo web
HETTICH | 1692 | Filter card (Set) Multiple, Set of 200 pcs., for Slide carrier 1670, for cyto chamber 1663, 1664, 1665 | 128.9071 | Catálogo web
HETTICH | 1693 | Filter card (Set) Multiple, Set of 100 pcs., for Slide carrier 1670, for cyto chamber 1668 | 141.7911 | Catálogo web
HETTICH | 1694 | Filter card (Set) Multiple, Set of 100 pcs., for Slide carrier 1670, for cyto chamber 1667 | 155.5339 | Catálogo web
HETTICH | 1696 | Filter card (Set) Single, Set of 100 pcs., for cyto chamber 1671 | 125.4714 | Catálogo web
HETTICH | 1697 | Filter card (Set) Single, Set of 100 pcs., for cyto chamber 1672 | 125.4714 | Catálogo web
HETTICH | 1698 | Filter card (Set) Single, Set of 100 pcs., for cyto chamber 1673 | 125.4714 | Catálogo web
HETTICH | 1701 | ROTINA 380 (IVD) Benchtop Centrifuge, non- refrigerated, without rotor, 200-240 V1~, 50-60 Hz | 8108.2857 | Catálogo web
HETTICH | 1701-01 | ROTINA 380 (IVD) Benchtop Centrifuge, non- refrigerated, without rotor, 100-127 V1~, 50-60 Hz | 8977.5214 | Catálogo web
HETTICH | 1706 | ROTINA 380 R (IVD) Benchtop Centrifuge, refrigerated, without rotor, 200-240 V1~, 50-60 Hz | 13500.6393 | Catálogo web
HETTICH | 1706-01 | ROTINA 380 R (IVD) Benchtop Centrifuge, refrigerated, without rotor, 110-127 V1~, 60 Hz | 14632.7071 | Catálogo web
HETTICH | 1706-50 | ROTINA 380 R (IVD) Benchtop Centrifuge, heatable and coolable up to +90 °C, without rotor, 200-240 V1~, 50-60 Hz | 17369.2536 | Catálogo web
HETTICH | 1720 | Angle rotor, 6-place 45°, for ROTINA 380 ¦ 380 R | 2471.9964 | Catálogo web
HETTICH | 1726 | Swing-out rotor, 6-place 90°, without buckets, for ROTINA 380 ¦ 380 R | 1398.3357 | Catálogo web
HETTICH | 1731 | Adapter, 2-place Boring Ø x L (mm): 25.5 x 72, for bucket 1427 | 163.725 | Catálogo web
HETTICH | 1732 | Adapter, 8-place Boring Ø x L (mm): 13.4 x 58, for bucket 1427 | 168.8786 | Catálogo web
HETTICH | 1737 | Adapter, 1-place Boring Ø x L (mm): 30 x 90, for bucket 1425 | 223.5857 | Catálogo web
HETTICH | 1738 | Adapter, 8-place Boring Ø x L (mm): 17 x 52, for bucket 1452 | 213.2786 | Catálogo web
HETTICH | 1739 | Carrier, 7-place Boring Ø x L (mm): 13.5 x 78, plastic, for rotor 1624 | 202.3768 | Catálogo web
HETTICH | 1741 | Carrier, 10-place Boring Ø x L (mm): 14.6 x 78, plastic, for rotor 1624 | 202.3768 | Catálogo web
HETTICH | 1742 | Carrier, 7-place Boring Ø x L (mm): 17.6 x 78, plastic, for rotor 1624 | 202.3768 | Catálogo web
HETTICH | 1745 | Carrier, 2-place Boring Ø x L (mm): 26 x 78, plastic, for rotor 1624 | 276.8393 | Catálogo web
HETTICH | 1746 | Carrier, 1-place Boring Ø x L (mm): 35 x 78, plastic, for rotor 1624 | 276.8393 | Catálogo web
HETTICH | 1748 | Swing-out rotor, 8-place For cytology, 90°, without buckets, for ROTINA 380 ¦ 380 R | 1839.825 | Catálogo web
HETTICH | 1751 | Lid Plastic, bioseal, for bucket 1752 | 155.1357 | Catálogo web
HETTICH | 1752 | Bucket Light metal, for rotor 1754 (Minimum order quantity 4 pc.) | 354.1429 | Catálogo web
HETTICH | 1753-A | Bucket Light metal, for rotor 1760 (Minimum order quantity 2 pc.) | 618.6929 | Catálogo web
HETTICH | 1754 | Swing-out rotor, 4-place 90°, without buckets, for ROTINA 380 ¦ 380 R | 2109.5286 | Catálogo web
HETTICH | 1760 | Swing-out rotor, 2-place 90°, without buckets, for ROTINA 380 ¦ 380 R | 1585.5821 | Catálogo web
HETTICH | 1761 | Adapter, 36-place Boring Ø x L (mm): 11.2 x 39.5, for bucket 1752, with Microliter tubes the max. capacity of the rotor is 144 vessels | 213.2786 | Catálogo web
HETTICH | 1762-A | Adapter, 24-place Boring Ø x L (mm): 12.5 x 56, for bucket 1752 | 213.2786 | Catálogo web
HETTICH | 1763-A | Adapter, 13-place Boring Ø x L (mm): 17.5 x 62, for bucket 1752 | 213.2786 | Catálogo web
HETTICH | 1764 | Adapter, 6-place Boring Ø x L (mm): 25.5 x 81, for bucket 1752 | 213.2786 | Catálogo web
HETTICH | 1765 | Adapter, 3-place Boring Ø x L (mm): 35.5 x 81, for bucket 1752 | 213.2786 | Catálogo web
HETTICH | 1766 | Adapter, 1-place Boring Ø x L (mm): 45 x 87, for bucket 1752 | 213.2786 | Catálogo web
HETTICH | 1767 | Adapter, 1-place Boring Ø x L (mm): 41 x 97, for bucket 1752 | 213.2786 | Catálogo web
HETTICH | 1768 | Adapter, 1-place Boring Ø x L (mm): 66 x 104,5 for bucket 1752 | 213.2786 | Catálogo web
HETTICH | 1769 | Adapter, 1-place Boring Ø x L (mm): 62 x 100, for bucket 1752 | 213.2786 | Catálogo web
HETTICH | 1770 | Swing-out rotor, 2-place 90°, without buckets, for ROTINA 380 ¦ 380 R | 1893.0786 | Catálogo web
HETTICH | 1771-A | Adapter, 9 place Boring Ø x L (mm): 17 x 84, for bucket 1752 | 213.2786 | Catálogo web
HETTICH | 1772-A | Adapter, 4-place Boring Ø x L (mm): 30 x 84, for bucket 1752 | 213.2786 | Catálogo web
HETTICH | 1773 | Adapter, 9-place Boring Ø x L (mm): 17 x 78, for bucket 1752 | 213.2786 | Catálogo web
HETTICH | 1774-A | Adapter, 4-place Boring Ø x L (mm): 30 x 80, for bucket 1752 | 213.2786 | Catálogo web
HETTICH | 1775 | Adapter, 6-place Boring Ø x L (mm): 26.5 x 70, for bucket 1752 | 264.8143 | Catálogo web
HETTICH | 1777 | Adapter, 2-place Boring Ø x L (mm): 38.5 x 80, for bucket 1752 | 264.8143 | Catálogo web
HETTICH | 1778 | Adapter, 1-place Boring Ø x L (mm): 62 x 111, for bucket 1752 | 213.2786 | Catálogo web
HETTICH | 1779 | Adapter, 5-place Boring Ø x L (mm): 26.5 x 72, for bucket 1752 | 264.8143 | Catálogo web
HETTICH | 1781 | Adapter, 24-place Boring Ø x L (mm): 9 x 49, for bucket 1752 | 264.8143 | Catálogo web
HETTICH | 1782 | Adapter, 1-place Boring Ø x L (mm): 62 x 111, for bucket 1752 | 213.2786 | Catálogo web
HETTICH | 1783-A | Adapter, 16-place Boring Ø x L (mm): 13.5 x 54, for bucket 1752 | 213.2786 | Catálogo web
HETTICH | 1787 | Adapter, 19-place Boring Ø x L (mm): 13.2 x 72, for bucket 1752 | 256.225 | Catálogo web
HETTICH | 1789-A | Angle rotor, 30-place 45°, with lid, bioseal, phenol-resistant, for ROTINA 380 ¦ 380 R | 1207.9179 | Catálogo web
HETTICH | 1791 | Spacer Boring Ø x L (mm): 65 x 19 | 183.4804 | Catálogo web
HETTICH | 1792 | Angle rotor, 6-place 45°, with lid, bioseal, for ROTINA 380 ¦ 380 R | 4287.7714 | Catálogo web
HETTICH | 1798 | Swing-out rotor, 4-place 90°, without buckets, for ROTINA 380 ¦ 380 R | 1542.6357 | Catálogo web
HETTICH | 1800 | EBA 200 (IVD) Small Centrifuge, non-refrigerated, with angle rotor, 8-place, 200 - 240 V 1~, 50 - 60 Hz | 2124.9893 | Catálogo web
HETTICH | 1800-01 | EBA 200 (IVD) Small Centrifuge, non-refrigerated, with angle rotor, 8-place, 100-127 V1~, 50-60 Hz | 2124.9893 | Catálogo web
HETTICH | 1801 | HAEMATOKRIT 200 (IVD) Small Centrifuge, non-refrigerated, with rotor, 200-240 V 1~, 50-60 Hz | 3698.5464 | Catálogo web
HETTICH | 1801-01 | HAEMATOKRIT 200 (IVD) Small Centrifuge, non-refrigerated, with rotor, 100-127 V1~, 50-60 Hz | 3762.1071 | Catálogo web
HETTICH | 1802 | EBA 200 S (IVD) Small Centrifuge, non-refrigerated, with angle rotor, 8-place, 200 - 240 V 1~, 50 - 60 Hz | 3942.4821 | Catálogo web
HETTICH | 1802-01 | EBA 200 S (IVD) Small Centrifuge, non-refrigerated, with angle rotor, 8-place, 100-127 V1~, 50-60 Hz | 3942.4821 | Catálogo web
HETTICH | 1810 | EBA 200 (MD) Small Centrifuge, non-refrigerated, with angle rotor, 8-place, 200 - 240 V 1~, 50 - 60 Hz | 2124.9893 | Catálogo web
HETTICH | 1810-01 | EBA 200 (MD) Small Centrifuge, non-refrigerated, with angle rotor, 8-place, 100-127 V1~, 50-60 Hz | 2124.9893 | Catálogo web
HETTICH | 2023 | Adapter (Set), 1-place Boring Ø x L (mm): 8 x 40, for rotor 1226-A, 1252-A, 1258-A, 1213-A, 2434, 2437, 2428, 1195-A, 1189-A, 1158-L, 1154-L, 1555, 1552, 1553, 1789-A, 4790-A, 4489-A, Set of 6 pcs. | 92.8321 | Catálogo web
HETTICH | 2024 | Adapter (Set), 1-place Boring Ø x L (mm): 6 x 40, for rotor 4489-A, 1226-A, 1252-A, 1258-A, 1213-A, 2434, 2437, 2428, 1195-A, 1189-A, 1158-L, 1154-L, 1555, 1552, 1553, 1789-A, 4790-A, Set of 6 pcs. | 92.8321 | Catálogo web
HETTICH | 2031 | Adapter (Set), 1-place For Microlitertubes, for rotor 4790-A, 4489-A, 1226-A, 1252-A, 1258-A, 1213-A, 2434, 2437, 2428, 1195-A, 1189-A, 1158-L, 1154-L, 1555, 1552, 1553, 1789-A, Set of 6 pcs. | 97.1268 | Catálogo web
HETTICH | 2200 | MIKRO 220 (IVD) Microliter Centrifuge, non-refrigerated, without rotor, 200 - 240 V 1~, 50 - 60 Hz | 5392.3536 | Catálogo web
HETTICH | 2200-01 | MIKRO 220 (IVD) Microliter Centrifuge, non-refrigerated, without rotor, 100-127 V1~, 50-60 Hz | 5584.7536 | Catálogo web
HETTICH | 2205 | MIKRO 220 R (IVD) Microliter Centrifuge, refrigerated, without rotor, 200 - 240 V 1~, 50 Hz | 9999.6464 | Catálogo web
HETTICH | 2205-01 | MIKRO 220 R (IVD) Microliter Centrifuge, refrigerated, without rotor, 100-127 V1~, 60 Hz | 9999.6464 | Catálogo web
HETTICH | 2300 | EBA 270 (IVD) Small Centrifuge, non-refrigerated, with swing-out rotor, 6-place, with two adapterset 2331-6 and 2333-6, 200 - 240 V 1~, 50 - 60 Hz | 2288.1857 | Catálogo web
HETTICH | 2300-01 | EBA 270 (IVD) Small Centrifuge, non-refrigerated, with swing-out rotor, 6-place, 100-127 V1~, 50-60 Hz | 2288.1857 | Catálogo web
HETTICH | 2331-6 | Adapter (Set), 1-place Boring Ø x L (mm): 17.5 x 80, for EBA 270, Set of 6 pcs. | 163.2643 | Catálogo web
HETTICH | 2333-6 | Adapter (Set), 1-place Boring Ø x L (mm): 17.5 x 55, for EBA 270, Set of 6 pcs. | 163.2643 | Catálogo web
HETTICH | 2400 | MIKRO 200 (IVD) Microliter Centrifuge, non-refrigerated, without rotor, 200 - 240 V 1~, 50 - 60 Hz | 3542.2214 | Catálogo web
HETTICH | 2400-01 | MIKRO 200 (IVD) Microliter Centrifuge, non-refrigerated, without rotor, 100-127 V1~, 50-60 Hz | 3677.9321 | Catálogo web
HETTICH | 2405 | MIKRO 200 R (IVD) Microliter Centrifuge, refrigerated, without rotor, 200 - 240 V 1~, 50 Hz | 8845.2464 | Catálogo web
HETTICH | 2405-01 | MIKRO 200 R (IVD) Microliter Centrifuge, refrigerated, without rotor, 100-127 V1~, 50-60 Hz | 8979.2393 | Catálogo web
HETTICH | 2413 | Angle rotor, 12-place 45°, with lid, bioseal, phenol-resistant, for MIKRO 2.0 ¦ 2.0 R | 1518.5857 | Catálogo web
HETTICH | 2414 | Angle rotor, 24-place 45°, with lid, bioseal, phenol-resistant, for MIKRO 2.0 ¦ 2.0 R | 1501.4071 | Catálogo web
HETTICH | 2415 | Angle rotor, 24-place For Spin Column Kits, 45°, with lid, bioseal, phenol-resistant, for MIKRO 2.0 ¦ 2.0 R | 1515.15 | Catálogo web
HETTICH | 2419 | Angle rotor, 20-place For Cryo tubes, 45°, with lid, bioseal, phenol-resistant, for MIKRO 2.0 ¦ 2.0 R | 1504.8429 | Catálogo web
HETTICH | 2423 | Lid Light metal, bioseal, autoclavabel, phenol-resistant, for rotor 2424-B, 2426-B, 2427-A, 2430-B | 422.8571 | Catálogo web
HETTICH | 2428 | Angle rotor, 24-place For Spin Coumn Kits, 45°, with lid, bioseal, for MIKRO 200 ¦ 200 R | 1060.1821 | Catálogo web
HETTICH | 2434 | Angle rotor, 24-place 45°, with lid, bioseal, for MIKRO 200 ¦ 200 R | 673.6643 | Catálogo web
HETTICH | 2435 | Lid Plastic, bioseal, for rotor 2434, 2437 | 421.1393 | Catálogo web
HETTICH | 2437 | Angle rotor, 30-place 40° inside/ 52,5° outside, with lid, bioseal, for MIKRO 200 ¦ 200 R | 962.2643 | Catálogo web
HETTICH | 2440 | MIKRO 2.0 (GP) Microliter Centrifuge, non refrigerated, without rotor, 100-240 V 1~, 50-60 Hz | 4378.8179 | Catálogo web
HETTICH | 2460 | MIKRO 2.0 R (GP) Microliter Centrifuge, refrigerated, without rotor, 100-240 V 1~, 50-60 Hz | 9944.675 | Catálogo web
HETTICH | 3200 | ZENTRIMIX 380 R Dual Centrifuge, refrigerated, without rotor, 200-240 V 1~, 50-60 Hz | 18465.2464 | Catálogo web
HETTICH | 3200-01 | ZENTRIMIX 380 R Dual Centrifuge, refrigerated, without rotor, 110-127 V 1~, 60 Hz | 18102.7786 | Catálogo web
HETTICH | 3205 | S-Rotor, 2-place 2500 RPM, without Adapter, for ZENTRIMIX 380 R | 17298.8214 | Catálogo web
HETTICH | 3206 | H-Rotor, 2-place 1500 RPM, without Adapter, for ZENTRIMIX 380 R | 17298.8214 | Catálogo web
HETTICH | 3210 | Removal aid For adapter 3236 and 3209 | 445.1893 | Catálogo web
HETTICH | 3211 | Adapter (Set), 2-place For 10 ml injection vial, for rotor 3206,3205 Set of 2 pcs. | 778.4536 | Catálogo web
HETTICH | 3218 | Adapter (Set), 3-place For conical vessels 3x50 ml or 3x15 ml, for rotor 3206, Set of 2 pcs. | 2123.2714 | Catálogo web
HETTICH | 3221-A | Adapter (Set), 1-place For 150 ml and 200 ml PP vessels with screw cap, for rotor 3206,3205 Set of 2 pcs. | 1381.1571 | Catálogo web
HETTICH | 3234 | Swing-out rotor, 4-place 90°, without buckets, for ZENTRIMIX 380 R | 2338.0036 | Catálogo web
HETTICH | 3235 | Adapter, 6-place For 10 ml PP (according to ISO 8362) injection bottles,Boring Ø x L (mm): 25,5x 49, for bucket 1752 | 245.9179 | Catálogo web
HETTICH | 3236 | Adapter (Set), 20-place For conical 2 ml Sarstedt PP micro tubes with screw cap (Cat.No. 72.693.005), for rotor 3206,3205 Set of 2 pcs. | 2061.4286 | Catálogo web
HETTICH | 4051 | Grease For rotor trunnions | 136.6375 | Catálogo web
HETTICH | 4174 | Swing-out rotor, 4-place 90°, without buckets, for ROTO SILENTA 630 RS | 5210.2607 | Catálogo web
HETTICH | 4176 | Swing-out rotor, 6-place 90°, without buckets, for ROTO SILENTA 630 RS | 9305.6321 | Catálogo web
HETTICH | 4213 | Adapter, 48-place Boring Ø x L (mm): 12.5 x 74, for bucket 4295-A, 4522-A | 228.7393 | Catálogo web
HETTICH | 4213-93 | Adapter, 48-place Boring Ø x L (mm): 12.5 x 36, for bucket 4295-A, 4522-A | 237.3286 | Catálogo web
HETTICH | 4214 | Adapter, 30-place Boring Ø x L (mm): 17.5 x 74, for bucket 4522-A, 4295-A | 228.7393 | Catálogo web
HETTICH | 4214-93 | Adapter, 30-place Boring Ø x L (mm): 17.5 x 36, for bucket 4295-A, 4522-A | 237.3286 | Catálogo web
HETTICH | 4215 | Adapter, 11-place Boring Ø x L (mm): 26 x 74, for bucket 4295-A, 4522-A | 245.9179 | Catálogo web
HETTICH | 4216 | Adapter, 6-place Boring Ø x L (mm): 35 x 74, for bucket 4295-A, 4522-A | 264.8143 | Catálogo web
HETTICH | 4218 | Adapter, 4-place Boring Ø x L (mm): 41.5 x 74, for bucket 4295-A, 4522-A | 264.8143 | Catálogo web
HETTICH | 4220 | Adapter, 16-place Boring Ø x L (mm): 17.5 x 74, for bucket 4295-A, 4522-A | 264.8143 | Catálogo web
HETTICH | 4222 | Adapter, 30-place Boring Ø x L (mm): 13.2 x 74, for bucket 4295-A, 4522-A | 245.9179 | Catálogo web
HETTICH | 4222-93 | Adapter, 30-place Boring Ø x L (mm): 13.2 x 36, for bucket 4295-A, 4522-A | 263.0964 | Catálogo web
HETTICH | 4223 | Adapter, 25-place Boring Ø x L (mm): 16 x 74, for bucket 4522-A, 4295-A | 264.8143 | Catálogo web
HETTICH | 4224 | Adapter, 63-place Boring Ø x L (mm): 11 x 74, for bucket 4522-A, 4295-A | 283.7107 | Catálogo web
HETTICH | 4225 | Adapter, 84-place Boring Ø x L (mm): 11.2 x 46, for bucket 4295-A | 381.6286 | Catálogo web
HETTICH | 4226 | Adapter, 78-place Boring Ø x L (mm): 8.2 x 36, for bucket 4295-A | 302.6071 | Catálogo web
HETTICH | 4229-B | Lid Plastic, for bucket 4295-A | 295.7357 | Catálogo web
HETTICH | 4232 | Adapter, 23-place Boring Ø x L (mm): 17 x 70, for bucket 4295-A, 4522-A | 627.2821 | Catálogo web
HETTICH | 4234-A | Vessel Boring Ø x L (mm): 96 x 135, 750 ml, for adapter 5258, 4845 and for bucket 4890 | 269.9679 | Catálogo web
HETTICH | 4237-A | Insert For Blood bags, plastic material, for bucket 4298-A | 232.175 | Catálogo web
HETTICH | 4238 | Adapter, 1-place Boring Ø x L (mm): 62 x 90, for bucket 4522-A, 4295-A | 333.5286 | Catálogo web
HETTICH | 4239 | Bottle 1.000 ml plastic (PPCO) | 198.9411 | Catálogo web
HETTICH | 4244-A | Insert For Blood bags, plastic material, for bucket 4293 | 224.7089 | Catálogo web
HETTICH | 4245-A | Adapter, 8-place Boring Ø x L (mm): 30 x 70, for bucket 4295-A, 4522-A | 446.9071 | Catálogo web
HETTICH | 4246 | Angle rotor, 6-place 45°, with lid, bioseal, phenol-resistant, for ROTIXA 500 RS | 4370.2286 | Catálogo web
HETTICH | 4249 | Adapter, 6-place Boring Ø x L (mm): 30 x 96, for bucket 4295-A, 4522-A | 343.8357 | Catálogo web
HETTICH | 4254 | Bucket Light metal, for rotor 4294 (Minimum order quantity 4 pc.) | 835.1429 | Catálogo web
HETTICH | 4255 | Adapter, 1-place Boring Ø x L (mm): 98 x 138, for bucket 4254, 4579-A for rotor 4176 (Minimum order quantity 6 pc.), 4174 (Minimum order quantity 4 pc.) | 1161.5357 | Catálogo web
HETTICH | 4257 | Bucket Light metal, for rotor 4294 (Minimum order quantity 4 pc.) | 1585.5821 | Catálogo web
HETTICH | 4258 | Adapter, 1-place Boring Ø x L (mm): 97.5 x 105, for bucket 4522-A, 4295-A | 374.7571 | Catálogo web
HETTICH | 4259-A | Adapter, 5-place For Hitachi Racks, for bucket 4257 | 263.0964 | Catálogo web
HETTICH | 4263-A | Adapter, 1-place For racks, for bucket 4285-A | 188.6339 | Catálogo web
HETTICH | 4266 | Angle rotor, 6-place 25°, with lid, bioseal, phenol-resistant, for ROTIXA 500 RS | 5254.925 | Catálogo web
HETTICH | 4273 | Adapter, 50-place Boring Ø x L (mm): 13.2 x 57, for bucket 4290 | 464.0857 | Catálogo web
HETTICH | 4275 | Bucket Light metal, for rotor 4474 (Minimum order quantity 4 pc.) | 402.2429 | Catálogo web
HETTICH | 4276-B | Adapter, 1-place For 100 ml ASTM tube (37 x 200 mm), for bucket 4275 | 225.3036 | Catálogo web
HETTICH | 4277 | Adapter, 1-place For 100 ml ASTM tube (44 x 168 mm), for bucket 4275 | 348.9893 | Catálogo web
HETTICH | 4278-A | Adapter, 1-place For 50 ml ASTM tube (45 x 130 mm), for bucket 4275 | 220.4143 | Catálogo web
HETTICH | 4279 | Removal aid For plate systems or with adapter (1485) for PCR plates and strips, for buckets 4280 | 261.3786 | Catálogo web
HETTICH | 4280 | Bucket Light metal, for rotor 4294 (Minimum order quantity 4 pc.) | 1441.2821 | Catálogo web
HETTICH | 4281 | Removal aid For plate systems or with adapter (1485) for PCR plates and strips, for buckets 4285-A | 747.5321 | Catálogo web
HETTICH | 4282 | Swing-out rotor, 2-place 90°, without buckets, for ROTIXA 500 RS | 3597.1929 | Catálogo web
HETTICH | 4283-B | Adapter, 6-place For racks, for bucket 4285-A (Minimum order quantity 2 pc.) | 568.875 | Catálogo web
HETTICH | 4285-A | Bucket Light metal, for rotor 4282 (Minimum order quantity 2 pc.) | 2908.3321 | Catálogo web
HETTICH | 4286 | Adapter, 7-place For LKB-Racks | 625.5643 | Catálogo web
HETTICH | 4287-B | Adapter, 10-place For racks, for bucket 4285-A (Minimum order quantity 2 pc.) | 453.7786 | Catálogo web
HETTICH | 4288-A | Adapter, 5-place For racks, for bucket 4285-A (Minimum order quantity 2 pc.) | 536.2357 | Catálogo web
HETTICH | 4290 | Bucket Light metal, for rotor 4294 (Minimum order quantity 4 pc.) | 1104.8464 | Catálogo web
HETTICH | 4291 | Lid Plastic, bioseal, for bucket 4290 | 560.2857 | Catálogo web
HETTICH | 4293 | Bucket Light metal, for rotor 4294 (Minimum order quantity 4 pc.) | 1791.725 | Catálogo web
HETTICH | 4294 | Swing-out rotor, 4-place 90°, without buckets, for ROTIXA 500 RS | 4069.6036 | Catálogo web
HETTICH | 4295-A | Bucket Light metal, for rotor 4294 (Minimum order quantity 4 pc.) | 905.575 | Catálogo web
HETTICH | 4296 | Swing-out rotor, 6-place 90°, without buckets, for ROTIXA 500 RS | 2722.8036 | Catálogo web
HETTICH | 4298-A | Bucket Light metal, for rotor 4294 (Minimum order quantity 4 pc.) | 1731.6 | Catálogo web
HETTICH | 4310 | Adapter, 28-place Boring Ø x L (mm): 17.2 x 57, for bucket 4290 | 397.0893 | Catálogo web
HETTICH | 4311 | Adapter, 33-place Boring Ø x L (mm): 17.5 x 63, for bucket 4290 | 464.0857 | Catálogo web
HETTICH | 4313 | Adapter, 8-place Boring Ø x L (mm): 30 x 56, for bucket 4290 | 397.0893 | Catálogo web
HETTICH | 4314 | Adapter, 17-place Boring Ø x L (mm): 17 x 60, for bucket 4290 | 397.0893 | Catálogo web
HETTICH | 4317 | Adapter, 1-place Boring Ø x L (mm): 25 x 86, for rotor 5616 | 158.5714 | Catálogo web
HETTICH | 4320 | Adapter, 28-place Boring Ø x L (mm): 17 x 60 , for bucket 4290 | 397.0893 | Catálogo web
HETTICH | 4321 | Adapter, 8-place Boring Ø x L (mm): 30 x 60 , for bucket 4290 | 397.0893 | Catálogo web
HETTICH | 4323 | Adapter, 10-place Boring Ø x L (mm): 30 x 60 , for bucket 4290 | 397.0893 | Catálogo web
HETTICH | 4338 | Adapter, 42-place Boring Ø x L (mm): 17.5 x 62, for bucket 4290 | 397.0893 | Catálogo web
HETTICH | 4339 | Adapter, 10-place Boring Ø x L (mm): 30 x 56, for bucket 4290 | 397.0893 | Catálogo web
HETTICH | 4416 | Adapter, 1-place Boring Ø x L (mm): 29 x 93, for bucket 1481, 1490, 1495 | 157.7125 | Catálogo web
HETTICH | 4417 | Adapter, 1-place Boring Ø x L (mm): 26 x 83, for bucket 1481, 1490, 1495 | 164.9821 | Catálogo web
HETTICH | 4430 | Adapter, 1-place For conical vessels, for adapter 4255, for bucket 4547-B, 4890 | 330.0929 | Catálogo web
HETTICH | 4432 | Adapter, 42-place Boring Ø x L (mm): 11.5 x 38 , for bucket 4890 | 299.1714 | Catálogo web
HETTICH | 4433 | Adapter, 30-place Boring Ø x L (mm): 13 x 58, for bucket 4890, 4254, 4579-A, 4547-B | 299.1714 | Catálogo web
HETTICH | 4434 | Adapter, 19-place Boring Ø x L (mm): 17.5 x 53, for bucket 4254, 4579-A, 4547-B, 4890 | 256.225 | Catálogo web
HETTICH | 4435 | Adapter, 21-place Boring Ø x L (mm): 13.5 x 58, for bucket 4254, 4579-A, 4547-B, 4890 | 256.225 | Catálogo web
HETTICH | 4437 | Adapter, 12-place Boring Ø x L (mm): 17 x 88, for bucket 4254, 4579-A, 4547-B | 256.225 | Catálogo web
HETTICH | 4438 | Adapter, 7-place Boring Ø x L (mm): 26 x 72 , for bucket 4547-B, 4890, 4254, 4579-A | 348.9893 | Catálogo web
HETTICH | 4439 | Adapter, 4-place Boring Ø x L (mm): 36 x 79 , for bucket 4579-A, 4547-B, 4890, 4254 | 381.6286 | Catálogo web
HETTICH | 4440 | Adapter, 1-place For conical tubes, for bucket 4254, 4579-A, 4547-B, 4890 | 330.0929 | Catálogo web
HETTICH | 4441 | Adapter, 5-place Boring Ø x L (mm): 30 x 87 , for bucket 4254, 4579-A, 4547-B | 369.6036 | Catálogo web
HETTICH | 4442 | Adapter, 2-place Boring Ø x L (mm): 45 x 78 , for bucket 4890, 4254, 4579-A, 4547-B | 403.9607 | Catálogo web
HETTICH | 4443 | Adapter, 1-place Boring Ø x L (mm): 62 x 92 , for bucket 4890, 4254, 4579-A, 4547-B | 222.9911 | Catálogo web
HETTICH | 4446 | Swing-out rotor, 6-place 90°, without buckets, for ROTANTA 460 ¦ 460 R ¦ 460 RC ¦ 460 RF | 2399.8464 | Catálogo web
HETTICH | 4447 | Vessel Boring Ø x L (mm): 97 x 110, 450 ml, for adapter 4845, 5687 and for bucket 4890 | 221.8679 | Catálogo web
HETTICH | 4449 | Adapter, 1-place For conical tubes, for bucket 4579-A, 4522-A, 4547-B, 4890, 4295-A, 4254 | 240.7643 | Catálogo web
HETTICH | 4451 | Spacer Boring Ø x L (mm): 76.54 x 7.5 | 161.1482 | Catálogo web
HETTICH | 4468 | Adapter, 7-place Boring Ø x L (mm): 31 x 96, for bucket 4890 | 348.9893 | Catálogo web
HETTICH | 4469 | Adapter, 14-place Boring Ø x L (mm): 17 x 93.1, for bucket 4890 | 330.0929 | Catálogo web
HETTICH | 4474 | Swing-out rotor, 4-place 90°, without buckets, for ROTOFIX 46 ¦ 46 H, ROTANTA 460 ¦ R ¦ RF ¦ RC | 2260.7 | Catálogo web
HETTICH | 4489-A | Angle rotor, 30-place 45°, with lid, bioseal, phenol-resistant, for ROTANTA 460 ¦ 460 R¦ 460 RC ¦ 460 RF | 1805.4679 | Catálogo web
HETTICH | 4493 | Adapter, 56-place Boring Ø x L (mm): 13.2 x 59, for bucket 4572 | 658.2036 | Catálogo web
HETTICH | 4509 | Loading aid For blood bag systems | 249.3536 | Catálogo web
HETTICH | 4516-A | Insert For Blood bags, plastic material, for bucket 4523-A | 314.6321 | Catálogo web
HETTICH | 4522-A | Bucket Light metal, for rotor 4176 (Minimum order quantity 6 pc.), 4174 (Minimum order quantity 4 pc.) | 1453.3071 | Catálogo web
HETTICH | 4523-A | Bucket Light metal, for rotor 4176 (Minimum order quantity 6 pc.), 4174 (Minimum order quantity 4 pc.) | 2451.3821 | Catálogo web
HETTICH | 4524-A | Bucket Light metal, for rotor 4176 (Minimum order quantity 6 pc.), 4174 (Minimum order quantity 4 pc.) | 2343.1571 | Catálogo web
HETTICH | 4529-AM | Insert For Blood bags, dual chamber, plastic material, with suspension in the middle, for bucket 4524-A | 840.2964 | Catálogo web
HETTICH | 4529-AO | Insert For Blood bags, dual chamber, plastic material, with top suspension, for bucket 4524-A | 840.2964 | Catálogo web
HETTICH | 4529-AU | Insert For Blood bags, dual chamber, plastic material, with bottom suspension, for bucket 4524-A | 840.2964 | Catálogo web
HETTICH | 4546-A | Bucket Light metal, for rotor 4176 (Minimum order quantity 6 pc.), 4174 (Minimum order quantity 4 pc.) | 2705.625 | Catálogo web
HETTICH | 4547-B | Bucket Light metal, for rotor 4176 (Minimum order quantity 6 pc.), 4174 (Minimum order quantity 4 pc.) | 1937.7429 | Catálogo web
HETTICH | 4548 | Insert For Blood bags, plastic material, for bucket 4547-B | 213.2786 | Catálogo web
HETTICH | 4559-A | Insert For Blood bags,dual chamber, plastic material, for bucket 4546-A | 453.7786 | Catálogo web
HETTICH | 4564 | HettLiner For fixation of underfilled blood bags during centrifugation, silicone, for insert 4592-B, 4529-AO, 4529-AM, 4529-AU | 183.4804 | Catálogo web
HETTICH | 4566 | Balancing weights (Set) To compensate weight differences, including the following weights: 40 x 2 g, 20 x 5 g, 10 x 10 g, 5x 20 g, 5x 40 g | 443.4714 | Catálogo web
HETTICH | 4570 | Angle rotor, 6-place 25°, with lid, bioseal, phenol-resistant, for ROTO SILENTA 630 RS | 5254.925 | Catálogo web
HETTICH | 4572 | Bucket Light metal, for rotor 4176 (Minimum order quantity 6 pc.), 4174 (Minimum order quantity 4 pc.) | 1884.4893 | Catálogo web
HETTICH | 4579-A | Bucket Light metal, for rotor 4176 (Minimum order quantity 6 pc.), 4174 (Minimum order quantity 4 pc.) | 957.1107 | Catálogo web
HETTICH | 4584-A | Balancing insert To balance an odd number of blood bags, for use with insert 4559-A | 508.75 | Catálogo web
HETTICH | 4587-A | Balancing insert To balance an odd number of blood bags, for use with insert 4592-B | 508.75 | Catálogo web
HETTICH | 4589-A | Balancing insert To balance an odd number of blood bags, for use with insert 4516-A | 508.75 | Catálogo web
HETTICH | 4591-A | Bucket Light metal, for rotor 4176 (Minimum order quantity 6 pc.), 4174 (Minimum order quantity 4 pc.) | 2923.7929 | Catálogo web
HETTICH | 4592-B | Insert For Blood bags, dual chamber, plastic material, for bucket 4524-A, 4591-A | 501.8786 | Catálogo web
HETTICH | 4595-C | Bucket Light metal, for rotor 4176 (Minimum order quantity 6 pc.), 4174 (Minimum order quantity 4 pc.) | 2042.5321 | Catálogo web
HETTICH | 4596-A | Insert For Blood bags, plastic material, for bucket 4595-C | 214.4018 | Catálogo web
HETTICH | 4598-A | Insert For Blood bags, dual chamber, plastic material, for bucket 4591-A | 513.9036 | Catálogo web
HETTICH | 4600 | ROTOFIX 46 Benchtop Centrifuge, without rotor, 200-240 V1~, 50-60 Hz | 7544.8286 | Catálogo web
HETTICH | 4600-01 | ROTOFIX 46 Benchtop Centrifuge, without rotor, 100-127 V1~, 50-60 Hz | 7682.2571 | Catálogo web
HETTICH | 4600-50 | ROTOFIX 46 H Benchtop Centrifuge, heatable, without rotor, 200-240 V1~, 50-60 Hz | 9054.825 | Catálogo web
HETTICH | 4600-51 | ROTOFIX 46 H Benchtop Centrifuge, heatable, without rotor, 100-127 V1~, 50-60 Hz | 9190.5357 | Catálogo web
HETTICH | 4612-A | Rolling cabinet Lockable, with one drawer, incl. lockable castors, W x D x H (mm): 550 x 650 x 260, for ROTOFIX 32 A, UNIVERSAL 320 ¦ 320 R, ROTINA 380 ¦ 380R, ROTINA 420, ROTANTA 460, ROTOFIX 46 ¦ 46H | 1965.2286 | Catálogo web
HETTICH | 4613-A | Rolling cabinet Lockable, with two drawer, incl. lockable castors, W x D x H (mm): 550 x 650 x 550, for ROTOFIX 32 A, UNIVERSAL 320 ¦ 320 R, ROTINA 380 ¦ 380 R, ROTINA 420, ROTANTA 460, ROTOFIX 46 ¦ 46 H | 2600.8357 | Catálogo web
HETTICH | 4614-A | Rolling cabinet Lockable, with one drawer, incl. lockable castors, W x D x H (mm): 770 x 650 x 260, for ROTINA 420 R, ROTANTA 460 R | 2057.9929 | Catálogo web
HETTICH | 4615-A | Rolling cabinet Lockable, with two drawer, incl. lockable castors, W x D x H (mm): 770 x 650 x 550, for ROTINA 420 R, ROTANTA 460 R | 2647.2179 | Catálogo web
HETTICH | 4626 | Removal aid For plate systems or with adapter (1485) for PCR plates and strips, for buckets 4745, 5631 and 5635 | 234.1571 | Catálogo web
HETTICH | 4627 | Lid Plastic, bioseal, for bucket 4745 and 5631 | 393.6536 | Catálogo web
HETTICH | 4701 | ROTINA 420 (IVD) Benchtop Centrifuge, non-refrigerated, without rotor, 200-240 V 1~, 50-60 Hz | 9551.2857 | Catálogo web
HETTICH | 4701-01 | ROTINA 420 (IVD) Benchtop Centrifuge, non-refrigerated, without rotor, 100-127 V1~, 50-60 Hz | 10322.6036 | Catálogo web
HETTICH | 4706 | ROTINA 420 R (IVD) Benchtop Centrifuge, refrigerated, without rotor, 200-240 V 1~, 50 Hz | 15136.0393 | Catálogo web
HETTICH | 4706-01 | ROTINA 420 R (IVD) Benchtop Centrifuge, refrigerated, without rotor, 100-127 V1~, 50-60 Hz | 15962.3286 | Catálogo web
HETTICH | 4730 | Adapter, 56-place Boring Ø x L (mm): 11 x 84, for bucket 5625-A | 287.1464 | Catálogo web
HETTICH | 4732 | Adapter, 20-place Boring Ø x L (mm): 13.5 x 84, for bucket 5625-A | 287.1464 | Catálogo web
HETTICH | 4733 | Adapter, 17-place Boring Ø x L (mm): 17.5 x 84, for bucket 5625-A | 249.3536 | Catálogo web
HETTICH | 4734 | Adapter, 6-place Boring Ø x L (mm): 26.5 x 84, for bucket 5625-A | 287.1464 | Catálogo web
HETTICH | 4735 | Adapter, 3-place Boring Ø x L (mm): 36 x 80, for bucket 5625-A | 287.1464 | Catálogo web
HETTICH | 4736 | Adapter, 3-place Boring Ø x L (mm): 42 x 80, for bucket 5625-A | 422.8571 | Catálogo web
HETTICH | 4737 | Adapter, 2-place Boring Ø x L (mm): 46 x 84, for bucket 5625-A | 422.8571 | Catálogo web
HETTICH | 4738 | Adapter, 1-place Boring Ø x L (mm): 66 x 80, for bucket 5625-A | 422.8571 | Catálogo web
HETTICH | 4739 | Adapter, 12-place Boring Ø x L (mm): 17 x 80, for bucket 5625-A | 287.1464 | Catálogo web
HETTICH | 4740 | Adapter, 5-place Boring Ø x L (mm): 30 x 80, for bucket 5625-A | 287.1464 | Catálogo web
HETTICH | 4745 | Bucket Light metal, for rotor 1770 (Minimum order quantity 2 pc.) | 933.0607 | Catálogo web
HETTICH | 4753 | Swing-out rotor, 4-place 90°, without buckets, for ROTINA 420 ¦ 420 R | 1616.5036 | Catálogo web
HETTICH | 4761 | Adapter, 35-place Boring Ø x L (mm): 11.2 x 54, for bucket 4780 | 273.4036 | Catálogo web
HETTICH | 4762A | Adapter, 26-place Boring Ø x L (mm): 13.4 x 55, for bucket 4780 | 273.4036 | Catálogo web
HETTICH | 4763A | Adapter, 18-place Boring Ø x L (mm): 17.5 x 62, for bucket 4780 | 273.4036 | Catálogo web
HETTICH | 4764 | Adapter, 7-place Boring Ø x L (mm): 26.5 x 69, for bucket 4780 | 273.4036 | Catálogo web
HETTICH | 4765 | Adapter, 4-place Boring Ø x L (mm): 36 x 77, for bucket 4780 | 333.5286 | Catálogo web
HETTICH | 4766 | Adapter, 3-place Boring Ø x L (mm): 42 x 76.5, for bucket 4780 | 273.4036 | Catálogo web
HETTICH | 4767 | Adapter, 2-place Boring Ø x L (mm): 46 x 76.5, for bucket 4780 | 273.4036 | Catálogo web
HETTICH | 4768 | Adapter, 1-place Boring Ø x L (mm): 66 x 97, for bucket 4780 | 273.4036 | Catálogo web
HETTICH | 4769A | Adapter, 13-place Boring Ø x L (mm): 17 x 84, for bucket 4780 | 273.4036 | Catálogo web
HETTICH | 4770A | Adapter, 5-place Boring Ø x L (mm): 30 x 82.5, for bucket 4780 | 273.4036 | Catálogo web
HETTICH | 4771 | Adapter, 1-place Boring Ø x L (mm): 62 x 100, for bucket 4780 | 273.4036 | Catálogo web
HETTICH | 4772 | Adapter, 1-place Boring Ø x L (mm): 85 x 100, for bucket 4780 | 273.4036 | Catálogo web
HETTICH | 4773 | Adapter, 24-place Boring Ø x L (mm): 11.2 x 38, for bucket 4780 | 273.4036 | Catálogo web
HETTICH | 4774A | Adapter, 15-place Boring Ø x L (mm): 17.2 x 82.5, for bucket 4780 | 273.4036 | Catálogo web
HETTICH | 4775A | Adapter, 21-place Boring Ø x L (mm): 13.7 x 55, for bucket 4780 | 273.4036 | Catálogo web
HETTICH | 4776 | Adapter, 1-place Boring Ø x L (mm): 61 x 105, for bucket 4780 | 273.4036 | Catálogo web
HETTICH | 4777 | Adapter, 1-place Boring Ø x L (mm): 61.5 x 110, for bucket 4780 | 273.4036 | Catálogo web
HETTICH | 4778 | Adapter, 12-place Boring Ø x L (mm): 17 x 52, for bucket 4780 | 268.25 | Catálogo web
HETTICH | 4780 | Bucket Light metal, for rotor 4784-A (Minimum order quantity 4 pc.) | 568.875 | Catálogo web
HETTICH | 4782 | Bucket Light metal, for rotor 4784-A (Minimum order quantity 4 pc.) | 649.6143 | Catálogo web
HETTICH | 4783 | Lid Plastic, bioseal, for bucket 4780 | 163.725 | Catálogo web
HETTICH | 4784-A | Swing-out rotor, 4-place 90°, without buckets, for ROTINA 420 ¦ 420 R | 2071.7357 | Catálogo web
HETTICH | 4785 | Bucket Light metal, for rotor 4784-A (Minimum order quantity 4 pc.) | 452.0607 | Catálogo web
HETTICH | 4790-A | Angle rotor, 30-place 45°, with lid, bioseal, phenol-resistant, for ROTINA 420 ¦ 420 R | 1755.65 | Catálogo web
HETTICH | 4794 | Angle rotor, 6-place 45°, with lid, bioseal, for ROTINA 420 ¦ 420 R | 4370.2286 | Catálogo web
HETTICH | 4795 | Angle rotor, 4-place 25°, for ROTINA 420 ¦ 420 R | 4937.1214 | Catálogo web
HETTICH | 4830 | Adapter, 24-place Boring Ø x L (mm): 11 x 84, for bucket 4880 | 273.4036 | Catálogo web
HETTICH | 4832 | Adapter, 19-place Boring Ø x L (mm): 13.5 x 84, for bucket 4880 | 273.4036 | Catálogo web
HETTICH | 4833 | Adapter, 19-place Boring Ø x L (mm): 17.5 x 84, for bucket 4880 | 273.4036 | Catálogo web
HETTICH | 4834 | Adapter, 7-place Boring Ø x L (mm): 26.5 x 84, for bucket 4880 | 419.4214 | Catálogo web
HETTICH | 4835 | Adapter, 4-place Boring Ø x L (mm): 36 x 80, for bucket 4880 | 491.5714 | Catálogo web
HETTICH | 4836 | Adapter, 3-place Boring Ø x L (mm): 42 x 80, for bucket 4880 | 273.4036 | Catálogo web
HETTICH | 4837 | Adapter, 2-place Boring Ø x L (mm): 46 x 84, for bucket 4880 | 273.4036 | Catálogo web
HETTICH | 4838 | Adapter, 1-place Boring Ø x L (mm): 66 x 80, for bucket 4880 | 273.4036 | Catálogo web
HETTICH | 4839 | Adapter, 14-place Boring Ø x L (mm): 17 x 80, for bucket 4880 | 273.4036 | Catálogo web
HETTICH | 4840 | Adapter, 5-place Boring Ø x L (mm): 30 x 80, for bucket 4880 | 273.4036 | Catálogo web
HETTICH | 4841 | Adapter, 1-place Boring Ø x L (mm): 62 x 100, for bucket 4880 | 273.4036 | Catálogo web
HETTICH | 4845 | Adapter, 1-place Boring Ø x L (mm): 98 x 100, for bucket 4880 | 273.4036 | Catálogo web
HETTICH | 4846 | Adapter, 1-place Boring Ø x L (mm): 94 x 95, for bucket 4880 | 273.4036 | Catálogo web
HETTICH | 4847 | Adapter, 27-place Boring Ø x L (mm): 13.2 x 61, for bucket 4880 | 419.4214 | Catálogo web
HETTICH | 4848 | Adapter, 22-place Boring Ø x L (mm): 17.5 x 61, for bucket 4880 | 273.4036 | Catálogo web
HETTICH | 4849 | Adapter, 2-place For culture flasks, for bucket 4880 | 1008.6464 | Catálogo web
HETTICH | 4851 | Adapter, 2-place For culture flasks, for bucket 4880 | 1049.875 | Catálogo web
HETTICH | 4852 | Adapter, 1-place For culture flasks, for bucket 4880 | 1049.875 | Catálogo web
HETTICH | 4880 | Bucket Light metal, with clip lock, for rotor 5699-R (Minimum order quantity 4 pc.) | 663.3571 | Catálogo web
HETTICH | 4883 | Lid Plastic, bioseal, for bucket 4880, 4890 | 175.75 | Catálogo web
HETTICH | 4885 | Bucket Light metal, for rotor 5699-R (Minimum order quantity 4 pc.) | 546.5429 | Catálogo web
HETTICH | 4890 | Bucket Light metal, with clip lock, round bottom, for rotor 5699-R (Minimum order quantity 4 pc.) | 723.4821 | Catálogo web
HETTICH | 4895 | Bucket Light metal, round bottom, for rotor 5699-R (Minimum order quantity 4 pc.) | 596.3607 | Catálogo web
HETTICH | 4950 | ROTIXA 500 RS (MD) Floorstanding Centrifuge, refrigerated, without rotor, 230-240 V 1~, 50 Hz / 220 V 1 ~, 60 Hz | 32129.0821 | Catálogo web
HETTICH | 5005 | ROTO SILENTA 630 RS (MD) Floorstanding Centrifuge, refrigerated , without rotor , 400 V 3 ~ + N, 50 - 60 Hz | 62256.8607 | Catálogo web
HETTICH | 5005-80 | ROTO SILENTA 630 RS (MD) Floorstanding Centrifuge, refrigerated, GMP, internal cooling unit with water-cooled condenser, without rotor, 400 V 3 ~ + N, 50-60 Hz | 68898.0964 | Catálogo web
HETTICH | 5005-90 | ROTO SILENTA 630 RS (MD) Floorstanding Centrifuge (GMP), with external cooling unit, without rotor , 400 V 3 ~ + N, 50 - 60 Hz | 65799.0821 | Catálogo web
HETTICH | 5051 | Bucket Light metal, for rotor 1798, 4753, 4446, 5694, 4296 | 283.7107 | Catálogo web
HETTICH | 5053 | Lid Plastic, for bucket 5051 | 160.2893 | Catálogo web
HETTICH | 5092 | Bucket Light metal, for rotor 1798, 4753, 4446, 5694, 4296 | 402.2429 | Catálogo web
HETTICH | 5093 | Lid Plastic, bioseal, for bucket 5092 | 143.5089 | Catálogo web
HETTICH | 5120 | Adapter, 12-place Boring Ø x L (mm): 13.2 x 82, for rotor 1798, 4753, 4446, 5694, 4296 | 216.1196 | Catálogo web
HETTICH | 5121 | Adapter, 7-place Boring Ø x L (mm): 17.5 x 82, for bucket 5092 | 216.1196 | Catálogo web
HETTICH | 5122 | Adapter, 4-place Boring Ø x L (mm): 25.5 x 82, for bucket 5092 | 249.3536 | Catálogo web
HETTICH | 5123 | Adapter, 2-place Boring Ø x L (mm): 30 x 85, for bucket 5092 | 249.3536 | Catálogo web
HETTICH | 5124 | Adapter, 1-place Boring Ø x L (mm): 35.5 x 82.5, for bucket 5092 | 249.3536 | Catálogo web
HETTICH | 5125 | Adapter, 1-place Boring Ø x L (mm): 45.5 x 85, for bucket 5092 | 249.3536 | Catálogo web
HETTICH | 5126 | Adapter, 1-place Boring Ø x L (mm): 42 x 85, for bucket 5092 | 216.1196 | Catálogo web
HETTICH | 5127 | Bottle 250 ml with screw-cap | 158.9696 | Catálogo web
HETTICH | 5128 | Adapter, 12-place Boring Ø x L (mm): 12.8 x 45, for bucket 5092 | 216.1196 | Catálogo web
HETTICH | 5129 | Adapter, 7-place Boring Ø x L (mm): 17 x 85, for bucket 5092 | 216.1196 | Catálogo web
HETTICH | 5134 | Adapter, 3-place Boring Ø x L (mm): 26 x 73, for bucket 5092 | 216.1196 | Catálogo web
HETTICH | 5135 | Adapter, 2-place Boring Ø x L (mm): 30 x 99, for bucket 5092 | 227.2857 | Catálogo web
HETTICH | 5136 | Adapter, 8-place Boring Ø x L (mm): 17.5 x 60.7, for bucket 5092 | 249.3536 | Catálogo web
HETTICH | 5137 | Adapter, 8-place Boring Ø x L (mm): 13.5 x 60.7, for bucket 5092 | 249.3536 | Catálogo web
HETTICH | 5138 | Adapter, 12-place Boring Ø x L (mm): 12.8 x 54.5, for bucket 5092 | 216.1196 | Catálogo web
HETTICH | 5220-A | Adapter, 2-place For bucket 5628 | 292.3 | Catálogo web
HETTICH | 5227 | Adapter, 20-place Boring Ø x L (mm): 12.5 x 42, for bucket 5051, 5628 | 154.675 | Catálogo web
HETTICH | 5229 | Adapter, 12-place Boring Ø x L (mm): 12.5 x 44, for bucket 1427 | 176.6089 | Catálogo web
HETTICH | 5230 | Adapter, 12-place Boring Ø x L (mm): 12.4 x 87, for bucket 1427 | 205.8125 | Catálogo web
HETTICH | 5231 | Adapter, 6-place Boring Ø x L (mm): 17.8 x 87, for bucket 1427 | 178.3268 | Catálogo web
HETTICH | 5232 | Adapter, 2-place Boring Ø x L (mm): 25.5 x 87, for bucket 1427 | 216.7143 | Catálogo web
HETTICH | 5233 | Adapter, 1-place Boring Ø x L (mm): 35.5 x 87, for bucket 1427 | 254.5071 | Catálogo web
HETTICH | 5237 | Adapter, 6-place Boring Ø x L (mm): 15 x 73, for bucket 1427 | 218.4321 | Catálogo web
HETTICH | 5242 | Adapter, 5-place Boring Ø x L (mm): 26 x 86, for bucket 5051, 5628 | 163.725 | Catálogo web
HETTICH | 5243 | Adapter, 2-place Boring Ø x L (mm): 36 x 86, for bucket 5628, 5051 | 154.675 | Catálogo web
HETTICH | 5247 | Adapter, 20-place Boring Ø x L (mm): 12.5 x 86, for bucket 5051 | 152.5589 | Catálogo web
HETTICH | 5247-91 | Adapter, 20-place Boring Ø x L (mm): 12.5 x 86, for bucket 5051 | 233.8929 | Catálogo web
HETTICH | 5248 | Adapter, 12-place Boring Ø x L (mm): 17.5 x 86, for bucket 5051 | 150.3804 | Catálogo web
HETTICH | 5248-91 | Adapter, 12-place Boring Ø x L (mm): 17.5 x 86, for bucket 5051 | 218.6964 | Catálogo web
HETTICH | 5249 | Adapter, 1-place Boring Ø x L (mm): 42 x 86, for bucket 5051, 5628 | 319.7857 | Catálogo web
HETTICH | 5257 | Adapter, 40-place Boring Ø x L (mm): 12.5 x 42, for bucket 5051 | 216.7143 | Catálogo web
HETTICH | 5258 | Adapter, 11-place Boring Ø x L (mm): 17.6 x 86, for bucket 5051 | 152.5589 | Catálogo web
HETTICH | 5259 | Adapter, 2-place Boring Ø x L (mm): 30 x 86, for bucket 5051 | 215.2607 | Catálogo web
HETTICH | 5262 | Adapter, 1-place Boring Ø x L (mm): 45.5 x 86, for bucket 5051, 5628 | 326.6571 | Catálogo web
HETTICH | 5263-A | Adapter, 1-place Boring Ø x L (mm): 66 x 87, for bucket 5628 | 290.5821 | Catálogo web
HETTICH | 5264 | Adapter, 12-place Boring Ø x L (mm): 16 x 50, for bucket 5628, 5051 | 245.9179 | Catálogo web
HETTICH | 5266 | Adapter, 5-place Boring Ø x L (mm): 26 x 86, for bucket 5628, 5051 | 240.7643 | Catálogo web
HETTICH | 5267 | Adapter, 20-place Boring Ø x L (mm): 11 x 44, for bucket 5628, 5051 | 294.0179 | Catálogo web
HETTICH | 5268 | Adapter, 12-place Boring Ø x L (mm): 13.5 x 52, for bucket 5628, 5051 | 245.9179 | Catálogo web
HETTICH | 5271 | Adapter, 5-place Boring Ø x L (mm): 17 x 66, for bucket 1427 | 216.7143 | Catálogo web
HETTICH | 5272 | Adapter, 1-place Boring Ø x L (mm): 25.5 x 85, for bucket 1427 | 207.5304 | Catálogo web
HETTICH | 5273 | Adapter, 12-place Boring Ø x L (mm): 12.2 x 38.4 | 224.7089 | Catálogo web
HETTICH | 5275 | Adapter, 1-place Boring Ø x L (mm): 17 x 90, for bucket 1427 | 216.1196 | Catálogo web
HETTICH | 5276 | Adapter, 1-place Boring Ø x L (mm): 30 x 90, for bucket 1427 | 280.275 | Catálogo web
HETTICH | 5277 | Adapter, 9-place Boring Ø x L (mm): 11.5 x 38, for bucket 1427 | 205.8125 | Catálogo web
HETTICH | 5278 | Adapter, 12-place Boring Ø x L (mm): 9 x 41, for bucket 1427 | 273.4036 | Catálogo web
HETTICH | 5279 | Adapter, 5-place Boring Ø x L (mm): 15.6 x 41, for bucket 1427 | 214.4018 | Catálogo web
HETTICH | 5280 | Adapter, 2-place For cyto chamber, for bucket 5051, 5628 in combination with adapter 5220-A | 472.675 | Catálogo web
HETTICH | 5281 | Adapter, 16-place Boring Ø x L (mm): 11.5 x 50, for bucket 5628, 5051 | 237.5929 | Catálogo web
HETTICH | 5615 | Angle rotor, 6-place 35°, with lid, bioseal, for ROTANTA 460 ¦ 460 R¦ 460 RC ¦ 460 RF | 4638.2143 | Catálogo web
HETTICH | 5621 | Lid Plastic, for bucket 4547-B | 175.75 | Catálogo web
HETTICH | 5622 | Swing-out rotor, 2-place 90°, without buckets, for ROTANTA 460 ¦ 460 R ¦ 460 RC ¦ 460 RF | 1929.1536 | Catálogo web
HETTICH | 5625-A | Bucket Light metal, for rotor 5699-R (Minimum order quantity 4 pc.) | 735.5071 | Catálogo web
HETTICH | 5627 | Lid Plastic, bioseal, for bucket 5625-A | 229.0036 | Catálogo web
HETTICH | 5628 | Bucket Light metal, for rotor 5699-R (Minimum order quantity 4 pc.) | 890.1143 | Catálogo web
HETTICH | 5629 | Lid Plastic, bioseal, for bucket 5628, 5653, 4280 | 237.5929 | Catálogo web
HETTICH | 5630-B | Bucket Light metal, for rotor 5699-R (Minimum order quantity 4 pc.) | 1408.6429 | Catálogo web
HETTICH | 5631 | Bucket Light metal, for rotor 5622 (Minimum order quantity 2 pc.) | 1135.7679 | Catálogo web
HETTICH | 5636 | Bucket Light metal, for rotor 5699-R (Minimum order quantity 4 pc.) | 1458.4607 | Catálogo web
HETTICH | 5637 | Adapter, 5-place Boring Ø x L (mm): 17 x 106, for rotor 5645, 4266, 4570, 4795 | 182.6214 | Catálogo web
HETTICH | 5638 | Adapter, 1-place Boring Ø x L (mm): 30 x 100, for rotor 5645, 4266, 4570, 4795 | 182.6214 | Catálogo web
HETTICH | 5641 | Adapter, 8-place Boring Ø x L (mm): 16.6 x 70, for rotor 4795, 5645, 4266, 4570 | 180.9036 | Catálogo web
HETTICH | 5642 | Adapter, 3-place Boring Ø x L (mm): 26 x 80, for rotor 4795, 5645, 4266, 4570 | 180.9036 | Catálogo web
HETTICH | 5643 | Adapter, 1-place Boring Ø x L (mm): 29 x 90, for rotor 4570, 4795, 5645, 4266 | 180.9036 | Catálogo web
HETTICH | 5644 | Adapter, 1-place Boring Ø x L (mm): 38.6 x 88, for rotor 4266, 4570, 4795, 5645 | 180.9036 | Catálogo web
HETTICH | 5645 | Angle rotor, 6-place 25°, with lid, bioseal, for ROTANTA 460 ¦ 460 R¦ 460 RC ¦ 460 RF | 5017.8607 | Catálogo web
HETTICH | 5646 | Adapter, 7-place Boring Ø x L (mm): 17.6 x 83, for rotor 4266, 4570, 4795, 5645 | 180.9036 | Catálogo web
HETTICH | 5647 | Adapter, 7-place Boring Ø x L (mm): 30 x 96.5, for bucket 4880 | 299.1714 | Catálogo web
HETTICH | 5648 | Adapter, 3-place For TaqMan Array, for bucket 5636 | 216.1196 | Catálogo web
HETTICH | 5650 | ROTANTA 460 (MD) Benchtop Centrifuge, non-refrigerated, without rotor, 200-240 V 1~, 50-60 Hz | 11707.1964 | Catálogo web
HETTICH | 5650-01 | ROTANTA 460 (MD) Benchtop Centrifuge, non-refrigerated, without rotor, 100-127 V1~, 50-60 Hz | 12416.6714 | Catálogo web
HETTICH | 5651-A | Bucket Light metal, for rotor 5654 (Minimum order quantity 4 pc.) | 725.2 | Catálogo web
HETTICH | 5652 | Lid Plastic, bioseal, for bucket 5651-A | 228.7393 | Catálogo web
HETTICH | 5653 | Bucket Light metal, for rotor 5654 (Minimum order quantity 4 pc.) | 1180.4321 | Catálogo web
HETTICH | 5654 | Swing-out rotor, 4-place 90°, without buckets, for ROTANTA 460 ¦ 460 R ¦ 460 RC ¦ 460 RF | 2169.6536 | Catálogo web
HETTICH | 5660 | ROTANTA 460 R (MD) Benchtop Centrifuge, refrigerated, without rotor, 200-240 V 1~, 50 Hz | 17419.0714 | Catálogo web
HETTICH | 5660-01 | ROTANTA 460 R (MD) Benchtop Centrifuge, refrigerated, without rotor, 100-127 V1~, 50-60 Hz | 18202.4143 | Catálogo web
HETTICH | 5669 | Adapter, 1-place Boring Ø x L (mm): 88 x 68, for bucket 5651-A | 496.725 | Catálogo web
HETTICH | 5670 | ROTANTA 460 RC (MD) Floorstanding Centrifuge (Underbench), refrigerated, without rotor, 200-240 V, 50 Hz | 20049.1107 | Catálogo web
HETTICH | 5671 | Adapter, 1-place For culture flasks, for bucket 5630-B | 219.5554 | Catálogo web
HETTICH | 5672 | Adapter, 1-place For culture flasks, for bucket 5630-B | 210.9661 | Catálogo web
HETTICH | 5673 | Adapter, 1-place For culture flasks, for bucket 5630-B | 210.9661 | Catálogo web
HETTICH | 5674 | Adapter, 49-place Boring Ø x L (mm): 13.2 x 42.4, for bucket 5651-A | 496.725 | Catálogo web
HETTICH | 5675 | ROTANTA 460 RF (MD) Floorstanding Centrifuge, refrigerated, without rotor, 200-240 V 1 ~, 50 Hz | 22354.475 | Catálogo web
HETTICH | 5676 | Adapter, 1-place Boring Ø x L (mm): 60 x 46 for adapter 5681 | 173.1732 | Catálogo web
HETTICH | 5677 | Adapter, 1-place Boring Ø x L (mm): 61 x 28 for adapter 5681 | 173.1732 | Catálogo web
HETTICH | 5681 | Adapter, 2-place Boring Ø x L (mm): 62 x 100, for bucket 5651-A | 496.725 | Catálogo web
HETTICH | 5682 | Adapter, 37-place Boring Ø x L (mm): 17.2 x 46.5, for bucket 5651-A | 496.725 | Catálogo web
HETTICH | 5683 | Adapter, 24-place Boring Ø x L (mm): 17 x 60, for bucket 5651-A | 496.725 | Catálogo web
HETTICH | 5684 | Adapter, 73-place Boring Ø x L (mm): 12.5 x 40, for bucket 5651-A | 544.825 | Catálogo web
HETTICH | 5685 | Adapter, 47-place Boring Ø x L (mm): 13.2 x 42.4, for bucket 5651-A | 496.725 | Catálogo web
HETTICH | 5686 | Adapter, 10-place Boring Ø x L (mm): 30 x 60, for bucket 5651-A | 446.9071 | Catálogo web
HETTICH | 5687 | Adapter, 1-place Boring Ø x L (mm): 98 x 100, for bucket 5651-A | 496.725 | Catálogo web
HETTICH | 5688 | Adapter, 20-place Boring Ø x L (mm): 17 x 42, for bucket 5651-A | 555.1321 | Catálogo web
HETTICH | 5691-A | Bucket Light metal, for rotor 5699-R (Minimum order quantity 4 pc.) | 1942.8964 | Catálogo web
HETTICH | 5692 | Insert For Blood bags, plastic material, for bucket 5691-A | 269.9679 | Catálogo web
HETTICH | 5693 | Holder for blood bag systems For 3-place blood bag systems, for insert 5692 | 379.9107 | Catálogo web
HETTICH | 5694 | Swing-out rotor, 4-place 90°, without buckets, for ROTOFIX 46 | 1839.825 | Catálogo web
HETTICH | 5695 | Holder for blood bag systems For 4-place blood bag systems, for insert 5692 | 510.4679 | Catálogo web
HETTICH | 5699-R | Swing-out rotor, 4-place 90°, without buckets, for ROTANTA 460 ¦ 460 R ¦ 460 RC ¦ 460 RF | 2752.0071 | Catálogo web
HETTICH | 60001 | Shelf (Set) Made of stainless steel, with standard rails, max. load (kg): 50 | 323.2214 | Catálogo web
HETTICH | 60006 | Access port Ø (mm): 22, Foam stoppers | 400.525 | Catálogo web
HETTICH | 60007 | Access port Ø (mm): 42, Foam stoppers | 429.7286 | Catálogo web
HETTICH | 60008 | Access port Ø (mm): 67, Foam stoppers | 560.2857 | Catálogo web
HETTICH | 60009 | Stacking kit For safe stacking of two HettCubes 200 ¦ 200 R | 859.1929 | Catálogo web
HETTICH | 60010 | Rolling cabinet Lockable, with two drawer, incl. lockable castors, W x D x H (mm): 770 x 800 x 550, for HettCube 200 ¦ 200 R | 2693.6 | Catálogo web
HETTICH | 60013 | Glass door All-glass outer door, for HettCube 600 ¦ 600 R | 1051.5929 | Catálogo web
HETTICH | 60024 | Drawer (HTS-Set), High 30 mm Made of stainless steel, with telescopic rails, pull out up to 70 %, tightly welded, max. load (kg): 40 | 907.2929 | Catálogo web
HETTICH | 60025 | Drawer (HTS-Set), High 65 mm Made of stainless steel, with telescopic rails, pull out up to 70 %, tightly welded, max. load (kg): 40 | 991.4679 | Catálogo web
HETTICH | 60026 | Drawer (HTS-Set), High 105 mm Made of stainless steel, with telescopic rails, pull out up to 70 %, tightly welded, max. load (kg): 40 | 1072.2071 | Catálogo web
HETTICH | 60027 | Frame L, 16-place Made of stainless steel, for inclined storage of cultures, tube Ø (mm): 15-20, Tube length (mm): 100-125, inclination angle 5° or 20 ° | 228.7393 | Catálogo web
HETTICH | 60028 | Frame XL, 16-place Made of stainless steel, for inclined storage of cultures, tube Ø (mm): 15-20, Tube length (mm): 126-170, inclination angle 5° or 20 ° | 228.7393 | Catálogo web
HETTICH | 60029 | Glass door All-glass outer door, for HettCube 400 ¦ 400 R | 991.4679 | Catálogo web
HETTICH | 60030 | Glass door All-glass outer door, for HettCube 200 ¦ 200 R | 950.2393 | Catálogo web
HETTICH | 60031 | Shelf (HTS-Set) Made of stainless steel, with telescopic rails, pull out up to 70 %, max. load (kg): 40 | 668.5107 | Catálogo web
HETTICH | 60032 | Drawer (HTS-Set), High 30 mm Made of stainless steel, with telescopic rails, pull out up to 70 %, tightly welded, max. load (kg): 40, exchange | 622.1286 | Catálogo web
HETTICH | 60033 | Drawer (HTS-Set), High 65 mm Made of stainless steel, with telescopic rails, pull out up to 70 %, tightly welded, max. load (kg): 40, exchange | 704.5857 | Catálogo web
HETTICH | 60034 | Drawer (HTS-Set), High 105 mm Made of stainless steel, with telescopic rails, pull out up to 70 %, tightly welded, max. load (kg): 40, exchange | 805.9393 | Catálogo web
HETTICH | 60035 | Shelf (HTS-Set) Made of stainless steel, with telescopic rails, pull out up to 70 %, max. load (kg): 40, exchange | 400.525 | Catálogo web
HETTICH | 60036 | Rack (HTS-Set) For inclined storage of cultures (Loewenstein), stainless steel, with telescopic rails, pull out up to 70 %, inclination angle: 5°, tube Ø (mm): 15-20, max. load (pcs): 81 tubes | 845.45 | Catálogo web
HETTICH | 60037 | Rack (Set) For inclined storage of cultures (Loewenstein), stainless steel, with standard rails, inclination angle: 5°, tube Ø (mm): 15-20, max. load (pcs): 81 tubes | 663.3571 | Catálogo web
HETTICH | 60038 | Rack (HTS-Set) For Petri dishes, stainless steel, with telescopic rails, pull out up to 70 %, Petri dishes Ø (mm): 90, max. load (pcs): 90 | 714.8929 | Catálogo web
HETTICH | 60039 | Rack (Set) For Petri dishes, stainless steel, with standard rails, Petri dishes Ø (mm): 90, max. load (pcs): 90 | 541.3893 | Catálogo web
HETTICH | 60040 | Rack For Petri dishes, stainless steel, Petri dishes Ø (mm): 90, max. load (pcs): 90 | 407.3964 | Catálogo web
HETTICH | 60041 | Rack For inclined storage of cultures (Loewenstein), stainless steel, inclination angle: 5°, tube Ø (mm): 15-20, max. load (pcs): 81 tubes | 500.1607 | Catálogo web
HETTICH | 60042 | Passive dehumidification For individual or timed opening of a dehumidification module via the touchscreen | 3162.575 | Catálogo web
HETTICH | 60043 | Service: Assembly of the Stacking kit for the HettCube 200 ¦ 200 R | 266.5321 | Catálogo web
HETTICH | 60044 | Service: Changing the door hinge | 438.3179 | Catálogo web
HETTICH | 60045 | Wire shelf Standard, for HettCube 60, stainless steel, with standard rails, max. load (kg): 25 | 218.4321 | Catálogo web
HETTICH | 60046 | Wire Shelf Perforated, for HettCube 60, stainless steel, with standard rails, max. load (kg): 25 | 283.7107 | Catálogo web
HETTICH | 60047 | Wire Shelf Reinforced, for HettCube 60, stainless steel, with standard rails, max. load (kg): 50 | 452.0607 | Catálogo web
HETTICH | 60051 | Internal glass door For HettCube 60 | 359.2964 | Catálogo web
HETTICH | 60052 | Wire shelf Standard, for HettCube 120, stainless steel, with standard rails, max. load (kg): 25 | 235.6107 | Catálogo web
HETTICH | 60053 | Wire Shelf Perforated, for HettCube 120, stainless steel, with standard rails, max. load (kg): 25 | 350.7071 | Catálogo web
HETTICH | 60054 | Wire Shelf Reinforced, for HettCube 120, stainless steel, with standard rails, max. load (kg): 50 | 507.0321 | Catálogo web
HETTICH | 60055 | Internal glass door For HettCube 120 | 397.0893 | Catálogo web
HETTICH | 60056 | Stacking kit For safe stacking of two HettCube 60 or 120 | 376.475 | Catálogo web
HETTICH | 60057 | Fixing kit For fixing the upper HettCube (60 or 120) additionally to the back wall | 153.8161 | Catálogo web
HETTICH | 60503 | Independent PT 100 sensor For independent temperature measurement, four-wire system, temperature values output with analogue output 4-20 mA on the back of the device | 845.45 | Catálogo web
HETTICH | 60521 | Switchboard 4-fold socket strip, as a unit controllable via display, on the back of the device | 929.625 | Catálogo web
HETTICH | 60525 | USB Port Lock (Set) For securing the USB-A interface. Set consisting of 10 securing clips and 1 USB key tool | 210.9661 | Catálogo web
HETTICH | 60526 | Parameter for continuous cooling operation For storing samples below 15 °C for more than 2 weeks | 460.65 | Catálogo web
HETTICH | 60919 | Fixing kit (HTS-Set) For fixing of shelfs and drawers with telescopic rails, made of polyamide | 180.0446 | Catálogo web
HETTICH | 62000 | HettCube 200 (IVD) Incubator, non-refrigerated, Temperature range 1 K above environment up to + 65° C, Internal volume (l): 150, 220-240 V1~, 50-60 Hz | 7630.7214 | Catálogo web
HETTICH | 62000-01 | HettCube 200 (IVD) Incubator, non-refrigerated, Temperature range 1 K above environment up to + 65° C, Internal volume (l): 150, 100-120 V1~, 50-60 Hz | 8465.6 | Catálogo web
HETTICH | 62005 | HettCube 200 R (IVD) Incubator, refrigerated, Temperature range 0°C up to +65 C, Internal volume (l): 150, 220-240 V1~, 50-60 Hz | 11533.6929 | Catálogo web
HETTICH | 62005-01 | HettCube 200 R (IVD) Incubator, refrigerated, Temperature range 0°C up to +65 C, Internal volume (l): 150, 100-120 V1~, 50-60 Hz | 12225.9893 | Catálogo web
HETTICH | 6301 | Adapter, 12-place Boring Ø x L (mm): 13.5 x 86, for bucket 5051 | 219.5554 | Catálogo web
HETTICH | 6305 | Adapter, 1-place Boring Ø x L (mm): 11.5 x 67.5, for rotor 1613, 1615 | 126.3304 | Catálogo web
HETTICH | 6306 | Adapter, 7-place Boring Ø x L (mm): 17 x 90, for bucket 5051 | 225.3036 | Catálogo web
HETTICH | 6311 | Adapter, 1-place Boring Ø x L (mm): 17 x 80, for bucket 1495, 1481, 1490 | 201.5179 | Catálogo web
HETTICH | 6316 | Adapter, 1-place Boring Ø x L (mm): 30 x 85, for adapter 5243, 5233 | 130.625 | Catálogo web
HETTICH | 6318 | Adapter, 1-place Boring Ø x L (mm): 29.5 x 80, for bucket 1490, 1481, 1495 | 155.1357 | Catálogo web
HETTICH | 6319 | Adapter, 1-place Boring Ø x L (mm): 66 x 103, for bucket 5092, for adapter 5263-A | 154.2768 | Catálogo web
HETTICH | 6322 | Adapter, 1-place Boring Ø x L (mm): 61 x 125, for bucket 4295-A, 4522-A | 577.4643 | Catálogo web
HETTICH | 6331 | Insert For bucket 1346 | 74.1934 | Catálogo web
HETTICH | 6337-B | Adapter, 14-place Boring Ø x L (mm): 17 x 90, for bucket 5628 | 355.8607 | Catálogo web
HETTICH | 6338-B | Adapter, 6-place Boring Ø x L (mm): 30 x 90, for bucket 5628 | 367.8857 | Catálogo web
HETTICH | 6339-A | Adapter, 6-place Boring Ø x L (mm): 30 x 87, for bucket 5628 | 364.45 | Catálogo web
HETTICH | 6341 | Adapter, 3-place Boring Ø x L (mm): 17 x 45, for bucket 1481, 1490 | 157.7125 | Catálogo web
HETTICH | 64000 | HettCube 400 (IVD) Incubator, non-refrigerated, Temperature range 1 K above environment up to + 65° C, Internal volume (l): 310, 220-240 V1~, 50-60 Hz | 8474.1893 | Catálogo web
HETTICH | 64000-01 | HettCube 400 (IVD) Incubator, non-refrigerated, Temperature range 1 K above environment up to + 65° C, Internal volume (l): 310, 100-120 V1~, 50-60 Hz | 9506.6214 | Catálogo web
HETTICH | 64005 | HettCube 400 R (IVD) Incubator, refrigerated, Temperature range 0°C up to +65 C, Internal volume (l): 310, 220-240 V1~, 50-60 Hz | 14603.5036 | Catálogo web
HETTICH | 64005-01 | HettCube 400 R (IVD) Incubator, refrigerated, Temperature range 0°C up to +65 C, Internal volume (l): 310, 100-120 V1~, 50-60 Hz | 15252.8536 | Catálogo web
HETTICH | 66000 | HettCube 600 (IVD) Incubator, non-refrigerated, Temperature range 1 K above environment up to + 65° C, Internal volume (l): 520, 220-240 V1~, 50-60 Hz | 11641.9179 | Catálogo web
HETTICH | 66000-01 | HettCube 600 (IVD) Incubator, non-refrigerated, Temperature range 1 K above environment up to + 65° C, Internal volume (l): 520, 100-120 V1~, 50-60 Hz | 12430.4143 | Catálogo web
HETTICH | 66005 | HettCube 600 R (IVD) Incubator, refrigerated, Temperature range 0°C up to +65 C, Internal volume (l): 520, 220-240 V1~, 50-60 Hz | 19325.8929 | Catálogo web
HETTICH | 66005-01 | HettCube 600 R (IVD) Incubator, refrigerated, Temperature range 0°C up to +65 C, Internal volume (l): 520, 100-120 V1~, 50-60 Hz | 19638.5429 | Catálogo web
HETTICH | 69601-10 | HettCube 60 Incubator (General Purpose), natural convection, temperature range 5 K above ambient temperature up to + 65 °C, Internal volume (l): 56, 220-240 V1~, 50-60 Hz | 3025.1464 | Catálogo web
HETTICH | 69601-11 | HettCube 60 Incubator (General Purpose), natural convection, temperature range 5 K above ambient temperature up to + 65 °C, Internal volume (l): 56, 100-127 V1~, 50-60 Hz | 3025.1464 | Catálogo web
HETTICH | 69601-20 | HettCube 60 Incubator (General Purpose), forced convection, temperature range 7,5 K above ambient temperature up to + 65 °C, Internal volume (l): 56, 220-240 V1~, 50-60 Hz | 4014.6321 | Catálogo web
HETTICH | 69601-21 | HettCube 60 Incubator (General Purpose), forced convection, temperature range 7,5 K above ambient temperature up to + 65 °C, Internal volume (l): 56, 100-127 V1~, 50-60 Hz | 4014.6321 | Catálogo web
HETTICH | 61201-10 | HettCube 120 Incubator (General Purpose), natural convection, temperature range 5 K above ambient temperature up to + 65 °C, Internal volume (l): 112, 220-240 V1~, 50-60 Hz | 4215.6214 | Catálogo web
HETTICH | 61201-11 | HettCube 120 Incubator (General Purpose), natural convection, temperature range 5 K above ambient temperature up to + 65 °C, Internal volume (l): 112, 100-127 V1~, 50-60 Hz | 4215.6214 | Catálogo web
HETTICH | 61201-20 | HettCube 120 Incubator (General Purpose), forced convection, temperature range 6.3 K above ambient temperature up to + 65 °C, Internal volume (l): 112, 220-240 V1~, 50-60 Hz | 5479.9643 | Catálogo web
HETTICH | 61201-21 | HettCube 120 Incubator (General Purpose), forced convection, temperature range 6.3 K above ambient temperature up to + 65 °C, Internal volume (l): 112, 100-127 V1~, 50-60 Hz | 5479.9643 | Catálogo web